CPCPWT4022A Commission and maintain backflow prevention devices

Release 1

CPCPWT4022A Commission and maintain backflow prevention devices

Modification History

Changes to performance criteria, required skills and knowledge, range statement and critical aspects

Not equivalent to CPCPWT4012A

Unit Descriptor

This unit of competency specifies the outcomes required to test, commission and maintain backflow prevention devices in water services.

It covers preparation for work, identification of testing and commissioning requirements, physical testing and commissioning of devices, maintenance of devices and completion of work finalisation processes.

Application of the Unit

Site location for work application will be either residential or commercial, and may be a new work site or an existing structure being renovated, extended, restored or maintained.

Licensing/Regulatory Information

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

Pre-Requisites

Nil

Employability Skills Information

This unit contains employability skills.

Elements and Performance Criteria Pre-Content

Elements describe the essential outcomes of a unit of competency.	Performance criteria describe the required performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the required skills and knowledge and/or the range statement. Assessment of performance is to be consistent with the evidence guide.

Elements and Performance Criteria

1	Prepare for work.	1.1	Plans and specifications are obtained.
1.2	Work health and safety (WHS) and environmental requirements associated with testing, commissioning and maintaining backflow prevention devices are adhered to throughout the work.
1.3	Quality assurance requirements are identified and adhered to according to workplace requirements.
1.4	Tasks are planned and sequenced in conjunction with others involved in or affected by the work and statutory and regulatory authorities’ requirements.
1.5	Tools and equipment for testing, commissioning and maintaining backflow prevention devices, including personal protective equipment, are selected and checked for serviceability.
1.6	Work area is prepared to support efficient testing, commissioning and maintenance of backflow prevention devices.

2	Identify testing and commissioning requirements.	2.1	Service and system design, and testing and commissioning requirements, are identified and confirmed from job specifications and according to standards and relevant information.
2.2	Backflow prevention device specifications and necessary installation materials are identified according to standards, authorities' requirements and job specifications.
2.3	Sustainability principles and concepts are observed when preparing for and undertaking work process.

3	Test and commission device.	3.1	Installation is checked to ensure device is appropriate and installed according to standards, job specifications, manufacturer recommendations and authorities' requirements.
3.2	Operation of device is tested according to job specifications, manufacturer recommendations and authorities' requirements, and adjusted as required.
3.3	Documentation is completed according to regulating authorities' requirements.

4	Maintain device.	4.1	Service and maintenance requirements are identified from manufacturer specifications or authorities' requirements.
4.2	Replacement components are checked and fitted periodically and as required according to specification.
4.3	Maintenance and repair of devices are conducted observing manufacturer and authorities' requirements.

5	Restore work area.	5.1	Work area is cleared and materials disposed of, reused or recycled according to legislation, regulations, codes of practice and job specification.
5.2	Tools and equipment are cleaned, checked, maintained and stored according to manufacturer recommendations and workplace procedures.
5.3	Documentation is completed according to workplace requirements.

Required Skills and Knowledge

This section describes the skills and knowledge required for this unit.
Required skills
communication skills to: access information determine requirements enable clear and direct communication, using questioning to identify and confirm requirements, share information, listen and understand follow instructions report faults use language and concepts appropriate to cultural differences use and interpret non-verbal communication, such as hand signals initiative and enterprise skills to identify and accurately report to appropriate personnel any faults in tools, equipment or materials literacy skills to: complete workplace documentation read and interpret: documentation from a variety of sources plans and specifications numeracy skills to apply measurements and calculations planning and organising skills to: plan and sequence tasks with others plan and set out work teamwork skills to work with others to action tasks and relate to people from a range of cultural and ethnic backgrounds and with varying physical and mental abilities technical skills to test, commission and maintain high, medium and low hazard backflow prevention devices in water services technology skills to: access and understand site-specific instructions in a variety of media use mobile communication technology
Required knowledge
basic hydraulics and mechanics relevant to backflow prevention devices in water services characteristics and applications of the materials and backflow prevention devices effective isolation procedures job safety analysis (JSA) and safe work method statements (SWMS) process of testing, commissioning and maintaining backflow prevention devices processes for accessing information and for calculating material requirements properties of water, including pressure and flow rates relationship with other service controls and devices relevant statutory requirements related to testing and commissioning backflow prevention devices SI system of measurements standards applicable to the service testing equipment and techniques workplace and equipment safety requirements

Evidence Guide

The evidence guide provides advice on assessment and must be read in conjunction with the performance criteria, required skills and knowledge, range statement and the Assessment Guidelines for the Training Package.
Overview of assessment	This unit of competency could be assessed in the workplace or a close simulation of the workplace environment providing that simulated or project-based assessment techniques fully replicate plumbing and services workplace conditions, materials, activities, responsibilities and procedures.
Critical aspects for assessment and evidence required to demonstrate competency in this unit	A person who demonstrates competency in this unit must be able to provide evidence of: locating, interpreting and applying relevant information, standards and specifications to the commissioning of backflow prevention devices applying safety requirements throughout the work sequence, including electrical safety requirements and the use of personal protective clothing and equipment as a minimum, the ability to test and commission at least: two different double check valves a single (testable) check valve two different registered air gaps (including two different orifice sizes and inlet pressures) two different types of pressure type vacuum breakers two different reduced pressure zone devices, indicating the ongoing maintenance requirements for each of them, ensuring: application of sustainability principles and concepts correct identification of location, design and details of proposed service correct selection and use of appropriate processes, tools and equipment completion of all work to specification compliance with regulations, standards and organisational quality procedures and processes communicating and working effectively and safely with others.
Context of and specific resources for assessment	This competency is to be assessed using standard and authorised work practices, safety requirements and environmental constraints. Assessment of essential underpinning knowledge will usually be conducted in an off-site context. Assessment is to comply with relevant regulatory or Australian standards’ requirements. Resource implications for assessment include: an induction procedure and requirement realistic tasks or simulated tasks covering the minimum task requirements relevant specifications and work instructions tools and equipment appropriate to applying safe work practices support materials appropriate to activity workplace instructions relating to safe working practices and addressing hazards and emergencies material safety data sheets research resources, including industry-related systems information. Reasonable adjustments for people with disabilities must be made to assessment processes where required. This could include access to modified equipment and other physical resources, and the provision of appropriate assessment support.
Method of assessment	Assessment methods must: satisfy the endorsed Assessment Guidelines of the Construction, Plumbing and Services Training Package include direct observation of tasks in real or simulated work conditions, with questioning to confirm the ability to consistently identify and correctly interpret the essential underpinning knowledge required for practical application reinforce the integration of employability skills with workplace tasks and job roles confirm that competency is verified and able to be transferred to other circumstances and environments. Validity and sufficiency of evidence requires that: competency will need to be demonstrated over a period of time reflecting the scope of the role and the practical requirements of the workplace where the assessment is part of a structured learning experience the evidence collected must relate to a number of performances assessed at different points in time and separated by further learning and practice, with a decision on competency only taken at the point when the assessor has complete confidence in the person's demonstrated ability and applied knowledge all assessment that is part of a structured learning experience must include a combination of direct, indirect and supplementary evidence. Assessment processes and techniques should as far as is practical take into account the language, literacy and numeracy capacity of the candidate in relation to the competency being assessed. Supplementary evidence of competency may be obtained from relevant authenticated documentation from third parties, such as existing supervisors, team leaders or specialist training staff.

Range Statement

The range statement relates to the unit of competency as a whole. It allows for different work environments and situations that may affect performance. Bold italicised wording, if used in the performance criteria, is detailed below. Essential operating conditions that may be present with training and assessment (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) may also be included.
Work health and safety is to be according to commonwealth, state and territory legislation and regulations and may include:	handling of materials hazard control identifying and testing for electrical hazards personal protective clothing and equipment prescribed under legislation, regulations and workplace policies and practices safe operating procedures, including recognising and preventing hazards associated with: electricity hazardous materials and substances service lines surrounding structures and facilities trip hazards use of tools and equipment work site visitors and the public working in proximity to others use of firefighting equipment use of first aid equipment workplace environment and safety.
Environmental requirements cover water quality management and may include:	clean-up protection stormwater protection waste management.
Quality assurance requirements may include:	Environment Protection Authority (EPA) internal company quality assurance policy and risk management strategy International Standards Organisation site safety plan workplace operations and procedures.
Statutory and regulatory authorities include:	commonwealth, state or territory, and local authorities administering applicable Acts, regulations and codes of practice.
Tools and equipment may include:	hand and power tools approved and calibrated test equipment.
Backflow prevention devices may include:	single check valves double check valves pressure type vacuum breakers reduced pressure zone devices registered air gaps (RAG) registered break tanks (RBT).
Information may include:	charts and hand drawings instructions issued by authorised organisational or external personnel manufacturer specifications and instructions material safety data sheets (MSDS) memos organisation work specifications and requirements plans and sketches regulatory and legislative requirements, particularly those pertaining to: building codes WHS and environmental requirements plumbing regulations relevant Australian standards, including: AS/NZS3500 National plumbing and drainage AS/NZS2845.1:2010 – Water Supply – Backflow prevention devices safe work procedures relating to commissioning backflow prevention devices signage verbal, written and graphical instructions work bulletins work schedules, plans and specifications.
Materials may include:	approved backflow prevention devices.
Sustainability principles and concepts:	cover the current and future social, economic and environmental use of resources may include: efficient use of material efficient water use efficient energy retention selecting appropriate components and material to ensure minimal environmental impact.

Unit Sector(s)

Functional area
Unit sector	Plumbing and services

Custom Content Section

Not applicable.