Assessment Requirements for AHCDRG201 Maintain drainage systems

Release: 1

Assessment Requirements for AHCDRG201 Maintain drainage systems

Modification History

Release	TP Version	Comment
1	AHCv1.0	Initial release

Performance Evidence

The candidate must be assessed on their ability to integrate and apply the performance requirements of this unit in a workplace setting. Performance must be demonstrated consistently over time and in a suitable range of contexts.

The candidate must provide evidence that they can:

inspect and maintain simple drainage system components

inspect components for wear

monitor and control weeds and silt build up

record and report damage, blockages and leakages

Knowledge Evidence

The candidate must demonstrate knowledge of:

principles and practices of drainage system maintenance:

disposal procedures for chemical containers and residues, oils, grease and used parts

drainage system cleaning procedures

environmental impacts of drainage system maintenance

equipment used to clean and maintain drainage systems

manual, mechanical and chemical weed control methods

types of drainage systems

Assessment Conditions

Assessors must satisfy current standards for RTOs.

Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72