Assessment Requirements for CPCPFS3034 Install control valve assemblies, actuating devices and local alarms

Release: 2

Assessment Requirements for CPCPFS3034 Install control valve assemblies, actuating devices and local alarms

Modification History

Release 2	This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Changes to Elements and Performance Criteria 1.1.
Release 1	This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPFS3034A Install control valve assemblies, actuating devices and local alarms. Updated to meet the Standards for Training Packages 2012.

Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

installing and testing a:

wet control valve assembly with water motor alarm and automatic jacking pump

deluge control valve assembly

double interlock pre-action control valve assembly

combined riser control valve assembly including flow switch and solenoid test loop.

Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

relevant control valve assemblies, actuating devices and local alarms in fire sprinkler systems

legislation, relevant job plans and specifications, codes, Australian Standards, manufacturer’s specifications and jurisdictional requirements

processes, procedures and techniques of:

installing control valve, actuating and alarm components in sprinkler systems

pressure testing systems

pipe jointing including threading and roll grooving

functions and operations of the following valves and their components:

wet alarm valves and systems

deluge alarm valves and systems

dry alarm valves and systems

pre-action and double interlock pre-action alarm valves and systems

solenoid test loops

water motor alarms

jacking pumps

pressure switches

flow switches

pressure gauges

butterfly valves

OS&Y valves

ball valves

check valves

strainers

inspection tees

how to access relevant information, including relevant job plans and specifications, codes, Australian Standards, manufacturer’s specifications and jurisdictional requirements

tools, materials and equipment used for connecting control valve assemblies, actuating devices and local alarms

work health and safety (WHS) requirements for connecting control valve assemblies, actuating devices and local alarms

installation requirements for connecting control valve assemblies, actuating devices and alarms.

Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad