Assessment Requirements for CPCPGS3054 Calculate and install natural ventilation for Type A gas appliances

Release: 2

Assessment Requirements for CPCPGS3054 Calculate and install natural ventilation for Type A gas appliances

Modification History

Release 2	This version first released with CPC Construction, Plumbing and Services Training Package Release 6.5. Amended Knowledge Evidence.
Release 1	This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPGS3054A Calculate and install natural ventilation for Type A gas appliances. Updated to meet the Standards for Training Packages 2012.

Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

calculating natural ventilation for a minimum of three different installations including one pre-standard adoption and one post-standard adoption

calculating natural ventilation for one flue-less installation where jurisdictional requirements allow

installing one natural ventilation system for a Type A appliance.

Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

terminology relating to natural ventilation for gas appliances

processes, procedures and techniques for:

calculating and installing natural ventilation to a variety of gas appliances

using measurements and formulas to calculate free ventilation and ventilation openings

organisational policies and procedures on how to access relevant information, including codes and standards

tools, materials and equipment used to install natural ventilation, mechanical ventilation and associated interlocks for Type A gas appliances

work health and safety (WHS) requirements to install natural ventilation, mechanical ventilation and associated interlocks for Type A gas appliances

properties of gas, gas safety, combustion principles, pressure and flow rates

consumer safety requirements to maintain permanent free ventilation for correct operation of appliance/s.

Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad