# Assessment Requirements for CPPHES4005 Assess household energy use and efficiency improvements

Release: 1

Assessment Requirements for CPPHES4005 Assess household energy use and efficiency improvements

# Modification History

| Release 1 | This version first released with CPC Property Services Training Package Release 5.0. Supersedes and equivalent to CPPHSA4001A Assess household energy use. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by safely conducting energy use assessments and identifying efficiency improvements for three different households.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

alternative energy production and storage technologies applicable to residential buildings

energy ratings and power consumption of common household appliances

energy types and units of measurement

hazards and risks and types of personal protective equipment (PPE) to be used when conducting on-site assessments of household energy use

key requirements of relevant codes, standards, regulations and government incentive programs for household energy efficiency

major systems and other sources of household energy use:

cooking

refrigeration

washing and drying

home entertainment and home office equipment

heating and cooling

internal and external appliances

lighting

swimming pools and spas

water heating

water pumps

methods for interpreting household energy bills:

actual and estimated bills

plans

tariffs

strategies for improving household energy efficiency including impact of building shell on heating/cooling energy use, upgrade options and behavioural changes

trends in energy use and emissions

types and uses of energy measuring tools.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to:

residential buildings to allow achievement of the performance evidence

codes, standards, legislation and government programs relevant to energy efficiency

manufacturers’ product information on domestic appliances, water heating systems, heating and cooling systems, lighting and electronic products

technical information on energy production and storage technologies

personal protective equipment and energy measurement and data collection tools and documentation.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b