Assessment Requirements for MEM11009 Handle/move bulk fluids/gases

Release: 1

Assessment Requirements for MEM11009 Handle/move bulk fluids/gases

Modification History

Release 1. Supersedes and is equivalent to MEM11009B Handle/move bulk fluids/gases

Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria on at least two (2) occasions and include:

following work instructions, standard operating procedures (SOPs) and safe work practices

identifying and interpreting handling and storage instructions, labels, colour codes, signage and terminology, regulations and industry codes of practice and standards

communicating effectively with users of the materials and appropriately qualified and authorised authority

calculating quantities and filling/emptying applicable containers, as required

storing/handling bulk fluids and gases in accordance with storage conditions, including separation and segregation to legislative and dangerous goods code

following safety and emergency procedures as determined by organisational emergency response plan and seeking advice from qualified or authorised personnel, as required

completing all enterprise documentation in accordance with SOPs.

Knowledge Evidence

Evidence required to demonstrate the required knowledge for this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include knowledge of:

safe work practices and procedures and use of personal protective equipment (PPE) for various substances

work health and safety (WHS) and dangerous goods acts and regulations, transport of dangerous goods code, industry codes of practice and standards, and relevant legislative requirements

organisation’s emergency response plan

purpose and application of labels, colour codes and signage as applied to bulk fluids and gases

safety data sheets

procedures for filling and emptying storage containers

packaging requirements for dangerous goods

cleaning requirements for storage containers.

Assessment Conditions

Assessors must:

have vocational competency in handling/moving bulk fluids/gases at least to the level being assessed with relevant industry knowledge and experience

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 or its replacement and comply with the National Vocational Education and Training Regulator Act 2011, its replacement or equivalent legislation covering VET regulation in a non-referring state/territory as the case requires

Where possible assessment must occur in operational workplace situations. Where this is not possible or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment that reflects realistic operational workplace conditions. This must cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills

Conditions for assessment must include access to all tools, equipment, materials and documentation required, including relevant workplace procedures, product and manufacturing specifications

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2