Assessment Requirements for MSFGG3036 Install commercial glazing products

Release: 1

Assessment Requirements for MSFGG3036 Install commercial glazing products

Modification History

Release 1. Supersedes and is not equivalent to MSFGG3017 Fabricate and install commercial glazing.

Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

completed 2 commercial project installations in accordance with work, safety and Australian Standards requirements, to include at least 2 of the following:

combined window and door project

frameless commercial windows

shopfront and door

shopfront and door using sub-head and sub-sill.

Knowledge Evidence

There must be evidence the candidate has knowledge of:

Australian Standards, their purpose and key provisions:

AS/NZS 4667

AS 1288

mathematical procedures for estimation and measurement

types, characteristics and uses of commercial glazing products

commercial glazing product installation:

workplace safety system requirements

work flow requirements

qualities and characteristics of glass and framing materials, including curved glass

qualities, characteristics, uses and limitations of component hardware:

concealed overhead closer

guides

hinges

locks

pivots

weather seals

wheels

stays

site characteristics that may impact installation and how to respond

installation techniques, the types of problems that may occur and how to avoid and respond

fabrication methods for different products and how this impacts installation

basic fabrication techniques for on-site product adjustments

quality assurance

types, characteristics, safe use, maintenance and limitations of installation tools and equipment

uses and limitations of adhesives and sealants in glazing installations

documentation requirements for installation work.

Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

equipment, tools and materials to complete tasks in the Performance Evidence

work orders

workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73