Assessment Requirements for PPMEPG401 Troubleshoot and rectify power generation system

Release: 1

Assessment Requirements for PPMEPG401 Troubleshoot and rectify power generation system

Modification History

Release	Comments
Release 1	This version released with PPM Pulp and Paper Manufacturing Training Package Version 3.0.

Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has identified, diagnosed and rectified faults in plant, equipment and processes relevant to power generation systems on at least two occasions according to operational requirements, including for each occasion:

selected and used appropriate troubleshooting methods to identify plant, equipment and process faults

diagnosed causes and sources of faults on system and associated processes

communicated effectively and worked safely with others when undertaking troubleshooting and rectification activities

completed accurate, detailed records on troubleshooting and rectification activities and actions undertaken.

Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

workplace and legislative health and safety requirements and risk measures relevant to operating, troubleshooting and rectifying power generation systems, including emergency procedures, handling chemical and hazardous substances, high risk load shifting, licensing requirements, plant clearance and permit systems

environmental requirements relevant to power generation systems

troubleshooting methods applicable to the operation of power generation systems, including disposal procedures

manufacturer specifications and operating procedures for power generation systems, including shutdown and electrical isolation procedures

power generation systems, processes and associated services sufficient to troubleshoot, including:

plant layout

theory of operation

causes and effects of adjustments made to power generation system and processes

relationships between power generation system and associated services

types, causes and effects of power distribution systems and power generation plant shutdowns

effect of steam quality on turbine operation

operational tolerances of the turbine system and the effect of operating outside these tolerances

AC/DC generation principles

output control and regulation principles

power factor characteristics, effects and correction techniques

principles of operation of transformers and circuit protection systems

electronic and other control systems, operation and application to make appropriate adjustments that control power generation systems.

Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

skills must be demonstrated in a manufacturing facility or an environment that accurately represents workplace conditions

resources, equipment and materials:

power generation system, including chemical products

electronic control systems that include digital control system, touch screens or robotics

tools, equipment and consumables used to troubleshoot and rectify power generation systems

personal protective equipment required for troubleshooting power generation systems

proforma or recording system for recording diagnostic and corrective action processes

specifications:

workplace and standard operating procedures relating to troubleshooting and rectifying power generation systems, including health and safety, environmental risks and hazards identification, plant isolation and quality requirements

manufacturer specifications and operating procedures

relationships:

relevant personnel for the purposes of communicating information.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=12998f8d-d0ac-40bc-a69e-72a600d4fd93