PUAECO007 Respond to and maintain monitored automatic notification system

Release: 1

PUAECO007 Respond to and maintain monitored automatic notification system

Modification History

Release 1. This is the first release of this unit of competency in the PUA Public Safety Training Package.

Application

This unit of competency involves the skills and knowledge required to respond to and maintain monitored automatic notification systems. It includes responding to automatic notifications, and completing follow up activities. The unit applies to personnel required to monitor various types of alarm systems and devices in public safety, business and community safety environments. No licensing, legislative or certification requirements apply to this unit at the time of publication.

Pre-requisite Unit

Not applicable.

Competency Field

Emergency Communications

Unit Sector

Not applicable

Elements and Performance Criteria

ELEMENTS	PERFORMANCE CRITERIA
Elements describe the essential outcomes.	Performance criteria describe the performance needed to demonstrate achievement of the element.
1	Respond to automatic notification	1.1	Acknowledge and confirm automatic notification
1.2	Undertake appropriate response to activation
1.3	Take appropriate action for issues identified by responding agency
2	Complete follow up activities	2.1	Collect and record automatic notification information in appropriate databases
2.2	Maintain databases for currency and accuracy
3	Maintenance and testing activities	3.1	Liaise with scene, in accordance with organisational procedures, to manage maintenance activities
3.2	Liaise with scene, in accordance with organisational procedures, to manage testing activities

Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

Unit Mapping Information

This unit replaces and is not equivalent to PUAECO007A Respond to and maintain monitored alarm systems.

Links

PUA Training Package Companion Volume Implementation Guide is found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=3eca5672-6d5a-410b-8942-810d0ba05bbf