UEGNSG039 Test new residential and small commercial gas installations

Release: 1

UEGNSG039 Test new residential and small commercial gas installations

Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

Application

This unit involves the skills and knowledge required to test new residential and small commercial gas installations and associated components by a designated gas industry person in accordance with workplace procedures and relevant legislation, industry standards, regulations and codes of practice. It includes using tools and testing equipment to pressure test the customer piping system and associated gas meter connection filters, regulators and components. It also includes completing required records and appropriate documentation. The application of the skills and knowledge described in this unit may require a license or permit to practice in the workplace. Other conditions may apply under state and territory legislative and regulatory licencing requirements which must be confirmed prior to commencing this unit.

Pre-requisite Unit

Not applicable.

Competency Field

Support Services

Unit Sector

Gas Industry

Elements and Performance Criteria

ELEMENTS	PERFORMANCE CRITERIA
Elements describe the essential outcomes.	Performance criteria describe the performance needed to demonstrate achievement of the element.
1	Prepare to test new gas installation	1.1	Workplace safety, environmental and sustainable energy practices for the site are identified, obtained and understood
1.2	Job requirements are obtained and interpreted from plans, specifications and instructions
1.3	Relevant job requirements and workplace procedures for work activities are discussed with relevant person/s, including third parties, to determine and confirm work schedule and respective responsibilities
1.4	Hazards are identified, workplace safety and environmental risks are assessed, and control measures are prioritised, implemented and monitored in accordance with workplace procedures
1.5	Scope of responsibility under the relevant job requirements, including all work permits and/or relevant notifications, is determined and confirmed to access the services and perform work in accordance with job requirements and workplace procedures
1.6	Equipment, tools and personal protective equipment (PPE) needed to carry out work activities are identified, obtained and checked for correct operation and safety in accordance with workplace procedures and manufacturer instructions
1.7	Materials, plans, diagrams, drawings and resources required for work are confirmed and obtained in accordance with workplace procedures
2	Test new gas installation	2.1	Workplace safety and environmental risk control measures, schedule of work and workplace procedures for carrying out work are followed
2.2	Appropriate materials, tools and equipment are selected and used safely in accordance with manufacturer instructions and workplace procedures
2.3	Conformance test is undertaken using correct tools and equipment in accordance with workplace procedures and industry standards
2.4	Conformance test of new gas installation is undertaken using appropriate pressure testing, protection and stray current testing equipment in accordance with company procedures and regulatory requirements
2.5	Customer piping system and associated components, including appliances, are tested for conformance to industry standards and regulatory requirements
2.6	Results of conformance test are analysed, and non- compliant installations are disconnected in accordance with workplace procedures, industry standards and regulatory requirements
2.7	Work is completed within agreed timeframe and to industry standards in accordance with job requirements and workplace procedures
2.8	Hazardous activities are conducted safely in accordance with regulatory requirements and workplace procedures
2.9	Faults and operational conditions of the components are identified, repaired or replaced, and reported in accordance with organisational job requirements
2.10	Unplanned events are referred to the relevant person/s for directions in accordance with workplace procedures
3	Complete work and relevant documentation	3.1	Workplace safety risk control measures for work completion are followed
3.2	Quality and safety checks of the work are conducted in accordance with job requirements, workplace procedures and community and industry standards
3.3	Worksite is cleaned, reinstated and made safe in accordance with workplace procedures
3.4	Tools, equipment and any surplus resources/materials are cleaned, checked and securely stored in accordance with workplace procedures
3.5	Incidents are reported and followed up as required in accordance with workplace procedures
3.6	Relevant person/s is notified of work completion in accordance with workplace procedures
3.7	Work completion documentation is completed accurately and provided to relevant person/s in accordance with workplace procedures

Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEG Gas Industry Training Package Companion Volume Implementation Guide.

Unit Mapping Information

This unit replaces and is equivalent to UEGNSG706 Test new residential and small commercial gas installations.

Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8