UEPOPS360 Operate and monitor a hydro turbine

Release: 1

UEPOPS360 Operate and monitor a hydro turbine

Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

Application

This unit involves the skills and knowledge required to operate, inspect and monitor in-service hydro turbines. Turbines are a basic component in most methods of generating electricity in hydro generation power facilities. Competency in this unit requires the ability to plan work, operate hydro turbine plant, test hydro turbine plant, analyse hydro turbine plant faults, monitor and inspect hydro turbine plant and the completion of all documentation. Individuals will, in general, work under supervision, in a power generation facility as an operator. Power generation plant operators are typically trained and authorised to isolate, prepare plant and issue permits to work. No licensing, legislative or certification requirements apply to this unit at the time of publication. Note: Workplace practice The application of the skills and knowledge described in this unit may require a licence or training permit to practice in the workplace where work is carried out on gas and electrical installations. Additional conditions may apply under state and territory legislative and regulatory licensing requirements.

Pre-requisite Unit

There are no prerequisites.

Competency Field

Operations

Unit Sector

Electricity generation

Elements and Performance Criteria

ELEMENTS	PERFORMANCE CRITERIA
Elements describe the essential outcomes.	Performance criteria describe the performance needed to demonstrate achievement of the element.
1	Plan and prepare work	1.1	Safety issues related to operating and monitoring hydro turbine plant are identified, in accordance with workplace procedures and Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) regulations and legislative requirements
1.2	Work tasks and hydro turbine plant requirements are identified from appropriate personnel and documentation, in accordance with workplace procedures
1.3	Hydro turbine run up and loading schedule are ascertained from relevant documentation, in accordance with workplace procedures and site requirements
1.4	Inspection, preoperational tests and field preparations for hydro turbine plant service are carried out, in accordance with workplace procedures and manufacturers’ recommendations
1.5	Hydro turbine plant operational prerequisites are established, in accordance with workplace procedures and manufacturers’ recommendations
1.6	Sequence for recommissioning of hydro turbine plant is determined, in accordance with workplace procedures and site requirements
2	Operate hydro turbine plant	2.1	Output is adjusted to achieve required hydro turbine operating conditions and demand, in accordance with workplace procedures and operational requirements
2.2	Hydro turbine plant is operated within limits of its’ design, in accordance with workplace procedures
2.3	Hydro turbine plant is monitored and observed, in accordance with workplace procedures, to detect deviations from required operating conditions
2.4	Corrective actions are taken to rectify hydro turbine abnormalities, in accordance with workplace procedures and manufacturers’ recommendations
3	Test hydro turbine plant operation	3.1	Operational tests are performed, in accordance with workplace procedures
3.2	Hydro turbine plant is observed for correct operational response, in accordance with workplace procedures
3.3	Corrective action is taken, in accordance with workplace procedures, when response does not meet with documentation, hydro turbine plant integrity or personnel safety requirements
3.4	Hydro turbine plant is returned to required safe operational status upon completion of testing, in accordance with workplace procedures
4	Analyse hydro turbine plant faults	4.1	Cause of abnormal hydro turbine plant operating conditions are identified, in accordance with workplace procedures, and by analysing technical and operational information
4.2	Actions necessary to rectify faults are correctly determined, in accordance with workplace procedures
4.3	Hydro turbine plant integrity and personnel safety is maintained, in accordance with workplace procedures, and in consultation with appropriate personnel and technical and operational documentation
5	Monitor and inspect hydro turbine plant	5.1	Hydro turbine plant to be monitored and inspected is physically identified, in accordance with workplace procedures
5.2	Hydro turbine plant is monitored and inspected, in accordance with workplace procedures, for normal operation or to detect deviations
5.3	Corrective action is taken, in accordance with workplace procedures
5.4	Appropriate personnel are notified, in accordance with workplace procedures, when defects are detected
6	Complete documentation	6.1	Hydro turbine plant problems, movements, and status are reported, in accordance with workplace procedures
6.2	Documentation is updated, in accordance with workplace procedures

Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

Unit Mapping Information

This unit replaces and is equivalent to UEPOPS360A Operate and monitor a hydro turbine.

Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8