# Assessment Requirements for AHCCOM205 Recognise and respond to fire emergencies on a composting site

Release: 1

Assessment Requirements for AHCCOM205 Recognise and respond to fire emergencies on a composting site

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 9.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has, on at least one occasion, recognised and responded to fire emergency on a composting site and has:

set up water delivery system

read and interpreted site operation plans and procedures

recognised and reported fire risks and incidents

controlled fires according to workplace procedures and fire brigade directions

followed emergency procedures.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

principles and practices for recognising fire emergencies

characteristics and operation of joints, hoses, valves and sprinkler components

work health and safety and emergency management plans as part of enterprise operating procedures

fire behaviour, extinguishing media and operating firefighting equipment

fire control tactics and techniques, fire hazards and safety techniques

pile size, moisture and porosity as causes of combustion

procedures for safely using power and hand tools

standard risk control measures used in the industry to minimise risk associated with fire response.

# Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

skills must be demonstrated on a farm or commercial composting site or an environment that accurately represents workplace conditions

resources, equipment and materials:

firefighting tools and equipment

personal protective equipment

specifications:

workplace emergency procedures

manufacturer operating instructions for equipment

instructions from local fire authority

relationships:

local fire authority team.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72