# AHCDRG201 Maintain drainage systems

Release: 1

AHCDRG201 Maintain drainage systems

# Modification History

| Release | TP Version | Comment |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Application

This unit of competency describes the skills and knowledge required to carry out routine cleaning and maintenance of draining systems.

It applies to individuals who work under general supervision and exercise limited autonomy with some accountability for their own work. They undertake defined activities and work in a structured context.

No occupational licensing, legislative or certification requirements are known to apply to this unit at the time of publication.

# Pre-requisite Unit

Nil.

# Unit Sector

Drainage (DRG)

# Elements and Performance Criteria

| Element | Performance criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Inspect drainage systems | 1.1 Confirm the work to be undertaken 1.2 Check personal protective equipment for serviceability and correct fit 1.3 Identify work health and safety hazards associated with the activity and take appropriate steps to minimise risks to self and others 1.4 Inspect drainage system visually for blockages, leaks and operating faults |
| 2. Maintain system components | 2.1 Inspect components for wear or blockage 2.2 Service mechanical equipment 2.3 Replace simple components |
| 3. Remove silt and weed growth | 3.1 Clean silt from channels, drains, sumps and crossings 3.2 Remove weed growth 3.3 Flush drainage system 3.4 Observe water flow through channels and from outlets to confirm it is unobstructed |
| 4. Record and report maintenance activities | 4.1 Record blockage or leakage by type and location of the section of the system affected 4.2 Record and report damaged or faulty equipment 4.3 Record and report all routine maintenance activities 4.4 Check drainage system regularly |

# Foundation Skills

Foundation Skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

# Unit Mapping Information

This unit is equivalent to AHCDRG201A Maintain drainage systems.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72

Assessment Requirements for AHCDRG201 Maintain drainage systems

# Modification History

| Release | TP Version | Comment |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Performance Evidence

The candidate must be assessed on their ability to integrate and apply the performance requirements of this unit in a workplace setting. Performance must be demonstrated consistently over time and in a suitable range of contexts.

The candidate must provide evidence that they can:

inspect and maintain simple drainage system components

inspect components for wear

monitor and control weeds and silt build up

record and report damage, blockages and leakages

# Knowledge Evidence

The candidate must demonstrate knowledge of:

principles and practices of drainage system maintenance:

disposal procedures for chemical containers and residues, oils, grease and used parts

drainage system cleaning procedures

environmental impacts of drainage system maintenance

equipment used to clean and maintain drainage systems

manual, mechanical and chemical weed control methods

types of drainage systems

# Assessment Conditions

Assessors must satisfy current standards for RTOs.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72