# Assessment Requirements for AHCDRG202 Maintain drainage systems

Release: 1

Assessment Requirements for AHCDRG202 Maintain drainage systems

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 4.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit. There must be evidence that the individual has maintained drainage systems on at least two occasions and has:

inspected and maintained simple drainage system components

inspected components for wear

monitored and removed weeds and silt build up

recorded and reported damage, blockages and leakages.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

principles and practices of drainage system maintenance, including:

drainage system cleaning procedures

equipment used to clean and maintain drainage systems

manual and mechanical weed removal methods

types of drainage systems.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

a workplace setting or an environment that accurately represents workplace conditions

resources, equipment and materials:

work instructions and workplace procedures applicable to maintaining drainage systems

drainage system maintenance tools and equipment

personal protective equipment applicable to maintaining drainage systems

specifications:

work instructions

relationships:

supervisor

timeframes:

according to job requirements.

Assessors of this unit must satisfy the requirements of assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72