# AHCDRG202 Maintain drainage systems

Release: 1

AHCDRG202 Maintain drainage systems

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 4.0. |

# Application

This unit of competency describes the skills and knowledge required to inspect and carry out routine cleaning and maintenance of draining systems.

The unit applies to individuals who maintain drainage systems under general supervision with limited autonomy and accountability.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Drainage (DRG)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Inspect drainage systems | 1.1 Confirm with supervisor activity to be undertaken, including identifying potential hazards and risks and implementing safe working practices to minimise risks to self and others 1.2 Select, fit and use personal protective equipment applicable to the task 1.3 Inspect drainage system visually for blockages, leaks and operating faults |
| 2. Assist with system component maintenance | 2.1 Inspect components for wear or blockage 2.2 Service mechanical equipment as directed 2.3 Replace simple components as directed |
| 3. Remove silt and weed growth | 3.1 Clean silt from channels, drains, sumps and crossings 3.2 Remove weed growth 3.3 Flush drainage system 3.4 Observe water flow through channels and from outlets to confirm it is unobstructed |
| 4. Record and report maintenance activities | 4.1 Record blockage or leakage by type and location of the section of the system affected 4.2 Record and report damaged or faulty equipment 4.3 Record and report all routine maintenance activities 4.4 Check drainage system regularly |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interpret textual information from a range of sources to identify relevant and key information about workplace operations |
| Oral communication | Use clear language to report drainage system damaged or faulty equipment and routine maintenance activities |
| Numeracy skills | Identify replacement component part numbers |
| Navigate the world of work | Recognise and follow workplace requirements, including safety requirements, associated with own role and area of responsibility |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| AHCDRG202 Maintain drainage systems | AHCDRG201 Maintain drainage systems | Performance criteria clarified Foundation skills added Assessment requirements updated | Equivalent unit |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72