# Assessment Requirements for AHCDRG301 Install drainage systems

Release: 1

Assessment Requirements for AHCDRG301 Install drainage systems

# Modification History

| Release | TP Version | Comment |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Performance Evidence

The candidate must be assessed on their ability to integrate and apply the performance requirements of this unit in a workplace setting. Performance must be demonstrated consistently over time and in a suitable range of contexts.

The candidate must provide evidence that they can:

install drainage system works

interpret drainage system plans and drawings

interpret site specifications, soil types and drainage system plans

level and align earthworks

measure materials required to install drainage systems

prepare for installation activities

set out drainage system works

set out, survey, test and excavate the installation site

test the drainage system

use equipment, tools and machinery appropriate to the scope of works

# Knowledge Evidence

The candidate must demonstrate knowledge of:

principles and practices of drainage installation

drain types, components and installation techniques

soil characteristics and their impact on drainage systems

purposes of drainage systems and the application of drainage system plans to the physical situation

work health and safety

# Assessment Conditions

Assessors must satisfy current standards for RTOs.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72