# AHCDRG301 Install drainage systems

Release: 1

AHCDRG301 Install drainage systems

# Modification History

| Release | TP Version | Comment |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Application

This unit of competency describes the skills and knowledge required to install surface and subsurface drainage systems.

It applies to individuals who take responsibility for own work and for the quality of the work of others. They use discretion and judgement in the selection, allocation and use of available resources. All work is carried out to comply with workplace procedures.

No occupational licensing, legislative or certification requirements are known to apply to this unit at the time of publication.

# Pre-requisite Unit

Nil.

# Unit Sector

Drainage (DRG)

# Elements and Performance Criteria

| Element | Performance criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare for drainage system installation activities | 1.1 Identify the construction site for the drainage system 1.2 Select materials, tools, equipment and machinery and carry out pre-operational and safety checks 1.3 Identify work health and safety hazards, assess risks and implement controls 1.4 Select, use and maintain suitable personal protective equipment |
| 2. Co-ordinate installation work | 2.1 Coordinate work tasks in a sequential, timely and effective manner 2.2 Install the drainage system with due consideration of the environmental implications 2.3 Maintain a clean and safe work area throughout work |
| 3. Prepare the site for installation of drainage system | 3.1 Interpret symbols and terminology to ensure the concept of the drainage system plan is clearly understood 3.2 Identify layout of services, check depths and report discrepancies 3.3 Complete survey, measurement and marking out of site and confirm soil characteristics relevant to the system |
| 4. Undertake installation of drainage system | 4.1 Complete excavations without damage to services, facilities, features and established plants 4.2 Install the drainage system 4.3 Test the drainage system for configuration, flow rates and capacity 4.4 Confirm remedial action to be taken when the drainage system operation does not meet the plan specifications |
| 5. Complete installation of drainage system | 5.1 Finish earthworks 5.2 Restore the site and remove and dispose of waste material 5.3 Clean, maintain and store tools, equipment and machinery 5.4 Record work outcomes and report the works as per the executed drawings, including adjustments |

# Foundation Skills

Foundation Skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

# Unit Mapping Information

This unit is equivalent to AHCDRG301A Install drainage systems.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72