# Assessment Requirements for AHCDRG302 Measure drainage system performance

Release: 1

Assessment Requirements for AHCDRG302 Measure drainage system performance

# Modification History

| Release | TP Version | Comment |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Performance Evidence

The candidate must be assessed on their ability to integrate and apply the performance requirements of this unit in a workplace setting. Performance must be demonstrated consistently over time and in a suitable range of contexts.

The candidate must provide evidence that they can:

identify adverse environmental impacts of drainage systems

identify and apply appropriate remedial action

identify and correct system problems

identify hazards and implement safe work procedures

use technology to record and report drainage system data

# Knowledge Evidence

The candidate must demonstrate knowledge of:

how to measure a water table and salinity

measuring and monitoring procedures for factors contributing to drainage system performance

positive and negative environmental impacts of drainage systems

soil moisture measurement procedures

the environmental role of drainage systems

water quality monitoring methods and techniques

# Assessment Conditions

Assessors must satisfy current standards for RTOs.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72