# Assessment Requirements for AHCDRG304 Maintain and repair irrigation drainage systems

Release: 1

Assessment Requirements for AHCDRG304 Maintain and repair irrigation drainage systems

# Modification History

| Release | TP Version | Comment |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Performance Evidence

The candidate must be assessed on their ability to integrate and apply the performance requirements of this unit in a workplace setting. Performance must be demonstrated consistently over time and in a suitable range of contexts.

The candidate must provide evidence that they can:

isolate appliances, fixtures, fittings and related assemblies

gain access and carry out repairs

level and align the site

repair or remove blockages

use manual and mechanical drain clearing equipment

# Knowledge Evidence

The candidate must demonstrate knowledge of:

principles and practices for maintaining drainage systems

components used in irrigation drainage systems

environmental impacts of drainage systems

isolation processes and procedures

levelling and alignment processes

types and operational parameters of irrigation drains

# Assessment Conditions

Assessors must satisfy current standards for RTOs.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72