# AHCDRG305 Install drainage systems

Release: 1

AHCDRG305 Install drainage systems

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 4.0. |

# Application

This unit of competency describes the skills and knowledge required to prepare, coordinate, undertake and complete surface and subsurface drainage system installation.

The unit applies to individuals who install drainage systems under broad direction and take responsibility for their own work.

No licensing, legislative or certification requirements to apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Drainage (DRG)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare for drainage system installation activities | 1.1 Confirm activity to be undertaken, including identifying potential hazards and risks and implementing safe working practices to manage risks 1.2 Identify drainage system construction site 1.3 Select required materials, tools, equipment and machinery and complete safe operation and pre-operation checks 1.4 Select, fit, use and maintain personal protective equipment applicable to the task |
| 2. Coordinate installation work | 2.1 Schedule work tasks in a sequential, timely and effective manner 2.2 Identify environmental considerations of drainage installation activities 2.3 Maintain a clean and safe work area throughout work |
| 3. Prepare the site for installation of drainage system | 3.1 Interpret symbols and terminology to ensure drainage system plan is clearly understood 3.2 Identify layout of services, check depths and report discrepancies 3.3 Complete survey, measurement and marking out of site and confirm soil characteristics relevant to the system |
| 4. Undertake installation of drainage system | 4.1 Complete excavations without damage to services, facilities, features and established plants 4.2 Install drainage system to plan specifications 4.3 Test drainage system configuration, flow rates and capacity 4.4 Confirm remedial action to be taken when the drainage system operation does not meet the plan specifications |
| 5. Complete installation of drainage system | 5.1 Finish earthworks to the required specifications 5.2 Restore site and remove and dispose of waste material 5.3 Clean, maintain and store tools, equipment and machinery 5.4 Record work outcomes and report works as per the executed drawings, including adjustments |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interpret textual information from a range of sources to identify relevant and key information about workplace operations |
| Oral communication | Use clear language to report drainage system installation activities |
| Numeracy skills | Measure drainage system site and drain depths |
| Navigate the world of work | Recognise and follow workplace requirements, including safety requirements, associated with own role and area of responsibility |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| AHCDRG305 Install drainage systems | AHCDRG301 Install drainage systems | Performance criteria clarified Foundation skills added Assessment requirements updated | Equivalent unit |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72