# AHCDRG306 Measure drainage system performance

Release: 1

AHCDRG306 Measure drainage system performance

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture, Conservation and Land Management Training Package Version 4.0. |

# Application

This unit of competency describes the skills and knowledge required to measure, record and report on soil moisture, salinity and water table depth to determine system performance and efficiency.

The unit applies to individuals who measure drainage system performance under broad direction and take responsibility for their own work.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Drainage (DRG)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare for work | 1.1 Confirm the location of the drainage system 1.2 Select materials, tools, equipment and machinery 1.3 Carry out pre-operational and safety checks on tools, equipment and machinery 1.4 Identify potential hazards and risks and implement safe working practices to manage risks 1.5 Select, fit, use and maintain personal protective equipment applicable to the task |
| 2. Assess drainage and collection systems | 2.1 Determine damaged or broken components 2.2 Inspect areas for signs of water pooling and problems 2.3 Take measurements to determine drainage performance 2.4 Identify and record factors external to the system which may cause interference 2.5 Minimise environmental impacts of drainage system performance measurement activities |
| 3. Record and report system performance status | 3.1 Record water quality and quantity 3.2 Record water table depth, soil moisture and salinity 3.3 Document strategies that minimise the negative environmental impacts and maximise the positive impacts of the drainage system 3.4 Report system performance |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interpret textual information from a range of sources to identify relevant and key information about workplace operations |
| Oral communication | Use clear language to report drainage system performance |
| Navigate the world of work | Recognise and follow workplace requirements, including safety requirements, associated with own role and area of responsibility |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| AHCDRG306 Measure drainage system performance | AHCDRG302 Measure drainage system performance | Performance criteria clarified Foundation skills added Assessment requirements updated | Equivalent unit |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72