# AHCDRG307 Troubleshoot drainage systems

Release: 1

AHCDRG307 Troubleshoot drainage systems

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture, Conservation and Land Management Training Package Version 4.0. |

# Application

This unit of competency describes the skills and knowledge required to troubleshoot issues in drainage systems.

The unit applies to individuals who troubleshoot drainage systems under broad direction and take responsibility for their own work.

This unit is for industry specific drainage application not home-based.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Drainage (DRG)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare for work | 1.1 Identify drainage system issues and develop plans to rectify them 1.2 Locate the affected section of drainage system 1.3 Determine work requirements and responsibility for repair 1.4 Select materials, tools, equipment and machinery 1.5 Identify potential hazards and risks and implement safe working practices to manage risks 1.6 Minimise environmental impacts of drainage system maintenance activities 1.7 Select, fit, use and maintain personal protective equipment applicable to the task 1.8 Carry out pre-operational and safety checks on tools, equipment and machinery |
| 2. Determine access to drainage system | 2.1 Read drainage system plan and locate access points 2.2 Carry out digging to access drainage system without unnecessary damage to buildings, site, environment or existing fixtures and fittings |
| 3. Carry out work | 3.1 Use safe manual lifting and handling techniques for drainage related equipment 3.2 Access drainage system and rectify identified issue 3.3 Test drainage system to confirm issue has been rectified 3.4 Repair or reseal drainage system to permit normal use 3.5 Advise relevant personnel when repairs are completed and drainage system has been commissioned for use |
| 4. Complete work | 4.1 Clean work area and dispose of debris and waste 4.2 Clean and maintain tools and equipment 4.3 Report and record repair activities |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interpret textual information from a range of sources to identify relevant and key information about workplace operations |
| Oral communication | Use clear language to report drainage system repair activities |
| Navigate the world of work | Recognise and follow workplace requirements, including safety requirements, associated with own role and area of responsibility |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| AHCDRG307 Troubleshoot drainage systems | AHCDRG303 Troubleshoot drainage systems | Performance criteria clarified Foundation skills added Assessment requirements updated | Equivalent unit |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72