# AHCINF203 Maintain properties and structures

Release: 1

AHCINF203 Maintain properties and structures

# Modification History

| Release Number | TP Version | Comments |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Application

This unit of competency describes the skills and knowledge required to maintain and repair properties and structures in situations that don’t require the specialist skills of another trade.

All work is carried out to comply with workplace procedures, work health and safety legislation and codes, manufacturer’s specifications and sustainability practices

This unit applies to individuals who work under general supervision and exercise limited autonomy with some accountability for their own work. They undertake defined activities and work in a structured context.

No occupational licensing, legislative or certification requirements are known to apply to this unit at the time of publication.

# Pre-requisite Unit

Nil.

# Unit Sector

Infrastructure (INF)

# Elements and Performance Criteria

| Element | Performance criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Identify and confirm maintenance requirements | 1.1 Confirm work instructions with supervisor 1.2 Identify hazards and report to supervisor 1.3 Select and fit appropriate personal protective equipment 1.4 Inspect structures and facilities to locate and evaluate defects, deterioration and impending defects 1.5 Check property infrastructure and resources for correct operation, minor maintenance needs and damage 1.6 Confirm maintenance plan |
| 2. Select and prepare tools, equipment and materials | 2.1 Select and check tools, equipment and materials for serviceability 2.2 Identify and segregate for repair or replacement faulty or unsafe tools 2.3 Identify, assess and report existing and potential hazards to health and safety 2.4 Select and fit personal protective equipment |
| 3. Carry out routine maintenance | 3.1 Carry out routine maintenance to infrastructure, structures and facilities 3.2 Carry out minor repairs to building cladding and paint |
| 4. Complete maintenance activities | 4.1 Clean, maintain and store worksite, tools and materials 4.2 Collect, treat and dispose of or recycle unwanted materials and waste from maintenance activities 4.3 Complete workplace records |

# Foundation Skills

Foundation Skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

# Unit Mapping Information

This unit is equivalent to AHCINF203A Maintain properties and structures.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72

Assessment Requirements for AHCINF203 Maintain properties and structures

# Modification History

| Release Number | TP Version | Comments |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Performance Evidence

The candidate must be observed and repairing properties and structures, in a situation that does not require the specialist skills of another trade.

The candidate must be assessed on their ability to integrate and apply the performance requirements of this unit in a workplace setting. Performance must be demonstrated consistently over time and in a suitable range of contexts.

The candidate must provide evidence that they can:

identify hazards and following safe work practices

interpret and apply task instructions

communicate with work team and supervisor

select, prepare and safely use of a broad range of tools

carry out routine maintenance to infrastructure, structures and facilities

store or dispose of unused or waste materials

# Knowledge Evidence

The candidate must demonstrate knowledge of:

characteristics, capabilities and limitations of materials, equipment and tools

operation of water taps and reticulation systems

types of building cladding and finishes, purpose and use

identification of defects and appropriate repair methods

appropriate selection of repair materials

work health and safety legislative requirements and Codes of Practice

relevant Codes of Practice and procedures with regard to protection of the environment

# Assessment Conditions

Competency is to be assessed in the workplace or simulated environment that accurately reflects performance in a real workplace setting.

Assessors must satisfy current standards for RTOs.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72