# AHCINF207 Maintain properties and structures

Release: 1

AHCINF207 Maintain properties and structures

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 9.0. |

# Application

This unit of competency describes the skills and knowledge required to maintain and repair properties and structures where the services of a tradesperson is not necessary.

The unit applies to individuals who maintain properties and structures under general supervision with limited autonomy or accountability.

All work must be carried out to comply with workplace procedures, health and safety in the workplace requirements, legislative and regulatory requirements.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Infrastructure (INF)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Identify and confirm maintenance requirements | 1.1 Confirm work instructions with supervisor 1.2 Identify and report workplace health and safety hazards and risks to supervisor 1.3 Inspect structures and facilities to locate and report defects and deterioration 1.4 Check property infrastructure and resources for correct operation, minor maintenance needs and damage 1.5 Confirm maintenance plan with supervisor |
| 2. Select and prepare tools, equipment and materials | 2.1 Prepare and use tools, equipment and materials according to supervisor instructions 2.2 Carry out routine pre-operational checks on tools 2.3 Identify faulty or unsafe tools, and separate for repair or replacement 2.4 Select, fit and use personal protective equipment (PPE) applicable to the task |
| 3. Carry out routine maintenance | 3.1 Perform routine maintenance to infrastructure, structures and facilities 3.2 Carry out minor repairs according to supervisor instructions |
| 4. Complete maintenance activities | 4.1 Clear and tidy work area, and remove and dispose of or recycle rubbish and waste material 4.2 Clean, maintain and store tools, materials and equipment 4.3 Report work outcomes and malfunctions, faults, wear or damage of tools to supervisor |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interpret workplace instructions to formulate an understanding of expected requirements and activity |
| Oral communication | Use clear language and standard industry terminology to report malfunctions, faults, wear or damage to tools Participate in verbal exchanges to respond to questions and clarify instructions with supervisor |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| AHCINF207 Maintain properties and structures | AHCINF203 Maintain properties and structures | Minor changes to application Major and minor changes to performance criteria Foundation skills added Major and minor edits to performance and knowledge evidence and assessment conditions | Not equivalent |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72