# Assessment Requirements for AHCINF302 Plan and construct an electric fence

Release: 1

Assessment Requirements for AHCINF302 Plan and construct an electric fence

# Modification History

| Release Number | TP Version | Comments |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Performance Evidence

The candidate must be assessed on their ability to integrate and apply the performance requirements of this unit in a workplace setting. Performance must be demonstrated consistently over time and in a suitable range of contexts.

The candidate must provide evidence that they can:

develop an electric fencing plan for the enterprise

identify hazards and implement safe operating procedures

calculate and measure fencing requirements and calculate costings off the fencing plan

read and interpret plans and site maps and mark out fence lines

construct an electric fence that meets specifications and the needs of the enterprise

operate fencing tools and construction equipment

test and monitor the electric fence for earthing and current flow, resistance and leakage

follow enterprise work health and safety  policies

# Knowledge Evidence

The candidate must demonstrate knowledge of:

basic operation of electric fences including earthing and current flow, resistance and leakage

differences between portable and mains power

issues affecting electric fencing in relation to the whole property plan

range of electric fencing designs, construction methods and materials

dangers posed by electricity to personnel and livestock

conditions under which electric fences may cause fire

safe methods for diagnosing routine faults

common electric fencing hazards and safety precautions

relevant State/Territory legislation and regulations regarding electric fences

work health and safety legislative requirements

relevant codes of practice with regard to protection of the environment

# Assessment Conditions

Competency is to be assessed in the workplace or simulated environment that accurately reflects performance in a real workplace setting.

Assessors must satisfy current standards for RTOs.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72