# Assessment Requirements for AHCINF304 Install and terminate extra low voltage wiring systems

Release: 1

Assessment Requirements for AHCINF304 Install and terminate extra low voltage wiring systems

# Modification History

| Release Number | TP Version | Comments |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Performance Evidence

The candidate must be assessed on their ability to integrate and apply the performance requirements of this unit in a workplace setting. Performance must be demonstrated consistently over time and in a suitable range of contexts.

The candidate must provide evidence that they can:

identify hazards and implement safe systems of work

read labels and signage to differentiate between extra low voltage and other electrical systems

read and follow manufactures manuals and enterprise procedures for extra low voltage  wiring

size cables and wires to suit calculated load

install wiring systems

check and notify completed installation activities

follow enterprise work health and safety procedures and safely work with extra low voltage systems

# Knowledge Evidence

The candidate must demonstrate knowledge of:

basic electricity and electrical principles relating to extra low voltage wiring

applications, materials and techniques relevant to the industry sector

isolation and tagging procedures

computerised controller systems

enterprise policies and procedures

testing equipment and procedures

relevant legislation and guidelines for installing extra low voltage wiring.

# Assessment Conditions

Competency is to be assessed in the workplace or simulated environment that accurately reflects performance in a real workplace setting.

Assessors must satisfy current standards for RTOs.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72