# AHCINF305 Implement property improvement, construction and repair

Release: 1

AHCINF305 Implement property improvement, construction and repair

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 9.0. |

# Application

This unit of competency describes the skills and knowledge required to implement property improvement, construction and repair where the services of a tradesperson are not necessary.

The unit applies to individuals who implement property improvement, construction and repair under broad direction, and take responsibility for their own work.

All work must be carried out to comply with workplace procedures, health and safety in the workplace requirements, legislative and regulatory requirements.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Infrastructure (INF)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Assess property condition | 1.1 Confirm work plan and priorities with supervisor 1.2 Assess property structures for soundness 1.3 Identify and determine property improvements and maintenance requirements 1.4 Confirm with supervisor that planning and permissions have been obtained where required |
| 2. Prepare tools, equipment and material | 2.1 Select and check quantity and quality of materials for the task 2.2 Select tools and equipment required for the task, and check for safe operation 2.3 Identify faulty or unsafe tools and equipment, and separate for repair or replacement 2.4 Identify potential hazards and risks, and implement safe working practices to manage risks 2.5 Select, fit, use and maintain personal protective equipment (PPE) applicable to the task |
| 3. Carry out property improvements | 3.1 Construct, repair or dismantle property structures 3.2 Carry out basic concrete, masonry, metal or timber repairs 3.3 Carry out maintenance to property surrounds 3.4 Comply with planning or building requirements or restrictions |
| 4. Complete maintenance and improvement activities | 4.1 Monitor, maintain and improve property structures and surrounds 4.2 Clean and tidy work area, and dispose of or recycle rubbish and waste material 4.3 Clean and store tools, re-usable materials, equipment and PPE according to workplace procedures 4.4 Complete records according to workplace procedures |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interpret textual information from a range of sources to identify relevant information about property improvement activities Interpret maps, plans, site drawings and simple technical drawings |
| Writing | Use clear language, accurate industry terminology and logical structure to prepare records |
| Oral communication | Use clear language with supervisor or manager to confirm work plan and priorities Use clear language to report equipment and resources unserviceability |
| Numeracy | Take measurements, and read and use tape measures and scale rulers to measure materials and area Estimate and calculate volumes and quantities of material |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| AHCINF305 Implement property improvement, construction and repair | AHCINF301 Implement property improvement, construction and repair | Major and minor changes to application Minor changes to performance criteria Foundation skills added Major and minor edits to performance and knowledge evidence and assessment conditions | Not equivalent |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72