# AHCIRG217 Assist with pressurised irrigation operations

Release: 1

AHCIRG217 Assist with pressurised irrigation operations

# Modification History

| Release Number | TP Version | Comments |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Application

This unit of competency covers the skills and knowledge required to assist installing, operating and maintaining pressurised irrigation systems. These systems use sprinklers and generally use glued PVC pipe.

This unit applies to individuals who work under general supervision and exercise limited autonomy with some accountability for their own work. They undertake defined activities and work in a structured context.

No occupational licensing, legislative or certification requirements are known to apply to this unit at the time of publication.

# Pre-requisite Unit

Nil.

# Unit Sector

Irrigation (IRG)

# Elements and Performance Criteria

| Element | Performance criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare for work | 1.1 Confirm work instructions with supervisor 1.2 Select appropriate materials, tools, equipment and machinery 1.3 Select personal protective equipment and clothing and ensure correct fit 1.4 Identify manual handling and other work health and safety hazards 1.5 Identify the site for installation of the irrigation system |
| 2. Install irrigation components | 2.1 Prepare the site for installation works 2.2 Lay irrigation components out 2.3 Dig or tidy trenches where required 2.4 Add or insert system components 2.5 Position and secure lines 2.6 Assist with fitting pumps and valves |
| 3. Complete installation activities | 3.1 Check the irrigation system for leaks or blockages 3.2 Identify and report problems and anomalies 3.3 Clean and store equipment, tools and materials 3.4 Collect waste and dispose of or recycle 3.5 Record workplace information in the appropriate format |
| 4. Carry out start up and shutdown procedures as directed | 4.1 Follow start-up sequence 4.2 Shut down system components in sequence 4.3 Drain system 4.4 Record irrigation activity |
| 5. Assist with system maintenance | 5.1 Check sprinklers for serviceability and output 5.2 Maintain delivery components 5.3 Check water supply and pumping system periodically, where required 5.4 Keep maintenance records up to date |

# Foundation Skills

Foundation Skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

# Unit Mapping Information

New unit - no equivalent.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72