# Assessment Requirements for AHCIRG301 Install gravity fed irrigation systems

Release: 1

Assessment Requirements for AHCIRG301 Install gravity fed irrigation systems

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 4.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has installed a gravity fed irrigation system on at least one occasion and has:

applied workplace health and safety requirements

selected materials, tools, equipment and machinery appropriate to the scope of works

built and maintained irrigation structures, channels and beds

prepared irrigation beds

used roto-buck for bed preparation

measured water usage

installed pumps and pipelines

performed system commissioning tasks

adjusted and monitored check valves

start and moved siphons and spiles and checked flow

start up the system

checked pressure at the head works and control valves

identified variations in water flow and distribution.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

workplace requirements applicable to health and safety in the workplace for installing gravity fed irrigation systems

machinery operation and maintenance manual

calculations for installing surface irrigation systems

behaviour of water on varying terrain and soil types

soil characteristics applicable to water retention and infiltration

soil water retention testing techniques

water quality and water filtration techniques

gravity fed irrigation system components and operation.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

a workplace setting or an environment that accurately represents workplace conditions

resources, equipment and materials:

gravity fed irrigation system materials, tools equipment and machinery

gravity fed irrigation pump system tools and equipment and manual

personal protective equipment applicable to installing gravity fed irrigation systems

specifications:

work instructions and workplace procedures applicable to installing gravity fed irrigation systems

workplace requirements applicable to health and safety in the workplace and installing gravity fed irrigation systems

machinery operation and maintenance manual

timeframes:

according to job requirements.

Assessors of this unit must satisfy the requirements of assessors in applicable vocational education and training, legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72