# AHCIRG303 Measure irrigation delivery system performance

Release: 1

AHCIRG303 Measure irrigation delivery system performance

# Modification History

| Release Number | TP Version | Comments |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Application

This unit of competency describes the skills and knowledge required to measure pressure, flow and distribution uniformity of an irrigation system.

It applies to individuals who take responsibility for own work and for the quality of the work of others. They use discretion and judgement in the selection, allocation and use of available resources. All work is carried out to comply with workplace procedures.

No occupational licensing, legislative or certification requirements are known to apply to this unit at the time of publication.

# Pre-requisite Unit

Nil.

# Unit Sector

Irrigation (IRG)

# Elements and Performance Criteria

| Element | Performance criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Measure irrigation system performance | 1.1 Measure and record system pressures, water flow rates and pump performance parameters 1.2 Measure variations in system pressures, water flow rates and pump performance parameters where relevant and record 1.3 Inspect distribution and delivery systems and identify and fix malfunctions in system and record actions 1.4 Identify and record factors external to the system that may cause interference |
| 2. Monitor supply of equipment and spare parts | 2.1 Record supply and part usage 2.2 Monitor spare parts to ensure the supply meets demands 2.3 Make purchases within budget constraints 2.4 Report parts requirements outside of budget constraints 2.5 Record purchases and orders |
| 3. Record and report system performance status | 3.1 Record system pressures and variations 3.2 Record system flow rates and variations 3.3 Calculate and record distribution uniformity and mean application rates 3.4 Determine and record watering depth |

# Foundation Skills

Foundation Skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

# Unit Mapping Information

This unit is equivalent to AHCIRG303A Measure irrigation delivery system performance.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72