# AHCIRG309 Install irrigation pumps

Release: 1

AHCIRG309 Install irrigation pumps

# Modification History

| Release Number | TP Version | Comments |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Application

This unit of competency describes the skills and knowledge required to install and commission irrigation pumps.

It applies to individuals who take responsibility for own work and for the quality of the work of others. They use discretion and judgement in the selection, allocation and use of available resources. All work is carried out to comply with workplace procedures.

No occupational licensing, legislative or certification requirements are known to apply to this unit at the time of publication.

# Pre-requisite Unit

Nil.

# Unit Sector

Irrigation (IRG)

# Elements and Performance Criteria

| Element | Performance criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Plan and sequence installation tasks from instructions | 1.1 Obtain drawings and specifications 1.2 Plan and sequence tasks 1.3 Select tools and equipment and check for serviceability |
| 2. Source irrigation system requirements | 2.1 Determine location of pump 2.2 Identify pump base requirements 2.3 Identify, order and collect materials and equipment 2.4 Check materials and equipment for acceptable condition and compliance |
| 3. Install and commission pumping and flow control components | 3.1 Set out and construct pump base 3.2 Install pump and pump controls 3.3 Connect suction and discharge lines and flow control devices 3.4 Connect delivery and distribution components to pump 3.5 Conduct pressure testing of pumping system 3.6 Test pump |
| 4. Complete work | 4.1 Clear work area and dispose of, reuse or recycle materials 4.2 Clean, check, maintain and store tools and equipment 4.3 Restore work site to meet environmental requirements 4.4 Complete documentation |

# Foundation Skills

Foundation Skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

# Unit Mapping Information

This unit is equivalent to AHCIRG309A Interpret and apply instructions to install pumps.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72