# Assessment Requirements for AHCIRG325 Operate irrigation technology

Release: 1

Assessment Requirements for AHCIRG325 Operate irrigation technology

# Modification History

| Release Number | TP Version | Comments |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Performance Evidence

The candidate must be assessed on their ability to integrate and apply the performance requirements of this unit in a workplace setting.

The candidate must provide evidence that they can:

check accuracy of and calibrate equipment

maintain and check irrigation equipment for accuracy

operate irrigation controllers and sensors

operate pressure testing equipment

operate soil moisture testing equipment

operate technology to measure and monitor the irrigation system or the growing environment

operate water metering equipment

operate water testing equipment

record observations and data

record the results of testing

take representative samples for measurement

take samples for testing

# Knowledge Evidence

The candidate must demonstrate knowledge of:

data recording procedures

environmental procedures for use, storage and recycling of electronic equipment and batteries

equipment maintenance and operation

irrigation controllers and sensors

measurement procedures

operational procedures

pressure testing equipment

safe work practices including working with low voltage wiring

sampling techniques

soil moisture testing equipment

water metering equipment

water testing equipment

# Assessment Conditions

Assessors must satisfy current standards for RTOs.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72