# AHCIRG325 Operate irrigation technology

Release: 1

AHCIRG325 Operate irrigation technology

# Modification History

| Release Number | TP Version | Comments |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Application

This unit of competency describes the skills and knowledge required to operate irrigation technology as part of irrigation installation, construction and operation.

It applies to individuals who take responsibility for own work and for the quality of the work of others. They use discretion and judgement in the selection, allocation and use of available resources. All work is carried out to comply with workplace procedures.

No occupational licensing, legislative or certification requirements are known to apply to this unit at the time of publication.

# Pre-requisite Unit

Nil.

# Unit Sector

Irrigation (IRG)

# Elements and Performance Criteria

| Element | Performance criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare to work | 1.1 Determine work requirements and identify hazards, assess risks and implement control measures 1.2 Select required tools and equipment and check for safe operation and accuracy 1.3 Select and use suitable personal protective equipment |
| 2. Operate equipment | 2.1 Identify sampling points 2.2 Collect samples 2.3 Record and interpret readings and observations |
| 3. Operate irrigation controllers and sensors | 3.1 Link sensors to controllers by wiring or radio signals 3.2 Program controllers 3.3 Monitor accuracy and reliability of electronic flow control equipment and calibrate where necessary 3.4 Report discrepancies or malfunctions to management 3.5 Transport and store equipment appropriately |

# Foundation Skills

Foundation Skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

# Unit Mapping Information

This unit is equivalent to AHCIRG325A Operate irrigation technology.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72

Assessment Requirements for AHCIRG325 Operate irrigation technology

# Modification History

| Release Number | TP Version | Comments |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Performance Evidence

The candidate must be assessed on their ability to integrate and apply the performance requirements of this unit in a workplace setting.

The candidate must provide evidence that they can:

check accuracy of and calibrate equipment

maintain and check irrigation equipment for accuracy

operate irrigation controllers and sensors

operate pressure testing equipment

operate soil moisture testing equipment

operate technology to measure and monitor the irrigation system or the growing environment

operate water metering equipment

operate water testing equipment

record observations and data

record the results of testing

take representative samples for measurement

take samples for testing

# Knowledge Evidence

The candidate must demonstrate knowledge of:

data recording procedures

environmental procedures for use, storage and recycling of electronic equipment and batteries

equipment maintenance and operation

irrigation controllers and sensors

measurement procedures

operational procedures

pressure testing equipment

safe work practices including working with low voltage wiring

sampling techniques

soil moisture testing equipment

water metering equipment

water testing equipment

# Assessment Conditions

Assessors must satisfy current standards for RTOs.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72