# AHCIRG328 Operate irrigation controller and sensor technology

Release: 1

AHCIRG328 Operate irrigation controller and sensor technology

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 4.0. |

# Application

This unit of competency describes the skills and knowledge required to operate irrigation controller and sensor technology as part of irrigation installation, construction and operation.

The unit applies to individuals who operate irrigation controller and sensor technology under broad direction and take responsibility for their own work.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Irrigation (IRG)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare for work | 1.1 Confirm activity to be undertaken, including identifying potential hazards and risks and implementing safe working practices to manage risks 1.2 Select required tools and equipment, and check for safe operation and accuracy 1.3 Select, fit and use personal protective equipment applicable to the task |
| 2. Operate irrigation controllers | 2.1 Link valves to controllers by wiring or radio signals 2.2 Program controllers according to operating procedures 2.3 Operate controller according to site requirements 2.4 Troubleshoot controller and rectify cause of faults |
| 3. Operate irrigation sensors | 3.1 Link sensors to controllers by wiring or radio signals 3.2 Program controllers to monitor sensor 3.3 Operate and monitor accuracy and reliability of sensor control equipment, and adjust where necessary 3.4 Collect samples according to sampling techniques 3.5 Record and interpret readings and observations 3.6 Troubleshoot sensors and rectify cause of faults 3.7 Report discrepancies or malfunctions to management |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interpret textual information from a range of sources to identify relevant and key information about workplace operations |
| Writing | Complete records of readings and observations legibly and accurately using correct technical terminology |
| Oral communication | Use clear language to report discrepancies or malfunctions |
| Numeracy | Interpret the measurements of sample results Make calculations to check the accuracy of program irrigation controllers and adjust electronic flow equipment |
| Navigate the world of work | Recognise and follow workplace requirements, including safety requirements, associated with own role and area of responsibility |

# Range of Conditions

This section specifies different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included.

| Controllers must include at least 3 of the following: | stand-alone Bluetooth wifi remote radio controllers multi-site central controllers. |
| --- | --- |
| Sensors must include at least 4 of the following: | water meters soil moisture and temperature sensors air temperature sensors weather stations pump pressure sensors rainfall sensors. |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| AHCIRG328 Operate irrigation controller and sensor technology | AHCIRG325 Operate irrigation technology | Title updated Performance criteria clarified Foundation skills added Range of conditions added Assessment requirements updated | No equivalent unit |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72

Assessment Requirements for AHCIRG328 Operate irrigation controller and sensor technology

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 4.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has operated irrigation controller and sensor technology on at least two occasions, and has:

applied workplace health and safety requirements

selected tools and equipment appropriate to the scope of works

maintained and checked irrigation controller and sensor equipment for accuracy

operated irrigation controllers and sensors

checked the accuracy of controller and sensor equipment, and adjusted

recorded the results of sampling and testing

recorded observations and data.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

workplace requirements applicable to health and safety in the workplace for operating irrigation controller and sensor technology, including working with extra low voltage wiring according to Australian Standards

basic electrical testing procedures and safety practices

irrigation controller and sensor operating and testing procedures

environmental procedures for use, storage and recycling of electronic equipment and batteries

data recording procedures.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

a workplace setting or an environment that accurately represents workplace conditions

resources, equipment and materials:

irrigation controller and sensor installation and operating equipment

irrigation controllers and sensors

personal protective equipment applicable to installing and operating irrigation controller and sensor technology

specifications:

work instructions and workplace procedures applicable to operating irrigation controller and sensor technology

workplace requirements applicable to health and safety in the workplace for operating irrigation controller and sensor technology

Australian Standards applicable to working with extra low voltage wiring

irrigation controller and sensor operating and testing procedures

data recording procedures

environmental procedures for use, storage and recycling of electronic equipment and batteries

relationships:

supervisor

timeframes:

according to job requirements.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72