# Assessment Requirements for AHCIRG332 Operate pressurised irrigation systems

Release: 1

Assessment Requirements for AHCIRG332 Operate pressurised irrigation systems

# Modification History

| Release Number | TP Version | Comments |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Performance Evidence

The candidate must be assessed on their ability to integrate and apply the performance requirements of this unit in a workplace setting. Performance must be demonstrated consistently over time and in a suitable range of contexts.

The candidate must provide evidence that they can:

assess soil moisture levels

carry out measurements for output and distribution

measure and interpret flow rates and pressures

monitor system effectiveness including:

application rates

depth of irrigation

emitter output

irrigation times

pressure variations and blockages

salinity levels and water quality

perform shut down procedures

read and follow operations manual and procedures

record data

start up the system and carrying out operational checks

# Knowledge Evidence

The candidate must demonstrate knowledge of:

principles and practices of pressurised irrigation system operation

critical measures for moisture availability including:

evapotranspiration

field capacity

infiltration rates

readily available water

water holding capacity

wilting point

electrical hazards including:

contact with pumps, motors, other live components

short circuits

standing laterals to remove blockages

water spray onto power lines

energy efficiency indicators and benchmarks for low volume irrigation

environmental impacts of irrigation using water from any ground or underground source

general irrigation methods for low volume systems

main components of low volume and sprinkler irrigation systems

principles of irrigation and the water cycle

pump types used in irrigation systems and their operation

shutdown sequence and flushing procedures

soil characteristics

soil, plant and water relationships

water requirements of plants and crops consistent with sound environmental management

# Assessment Conditions

Assessors must satisfy current standards for RTOs.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72