# Assessment Requirements for AHCIRG333 Maintain pressurised irrigation systems

Release: 1

Assessment Requirements for AHCIRG333 Maintain pressurised irrigation systems

# Modification History

| Release Number | TP Version | Comments |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Performance Evidence

The candidate must be assessed on their ability to integrate and apply the performance requirements of this unit in a workplace setting. Performance must be demonstrated consistently over time and in a suitable range of contexts.

The candidate must provide evidence that they can:

check connections and controllers

check sprinkler/emitter output and function

confirm operational pressures

ensure proper operation of automatic flush valves

interpret and apply maintenance procedures

remove, service and replace valves and filters

test irrigation equipment

# Knowledge Evidence

The candidate must demonstrate knowledge of:

principles and practices of irrigation system maintenance

characteristics and operation of pipes, joints, valves, emitters

common operational and maintenance problems

components of an irrigation system

operation of pumps and water flow rates

sprinkler/low volume irrigation system components

# Assessment Conditions

Assessors must satisfy current standards for RTOs.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72