# AHCIRG334 Operate and maintain gravity fed irrigation systems

Release: 1

AHCIRG334 Operate and maintain gravity fed irrigation systems

# Modification History

| Release Number | TP Version | Comments |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Application

This unit of competency covers the skills and knowledge required to install, operate and maintain surface irrigation structures and components.

It applies to individuals who take responsibility for own work and for the quality of the work of others. They use discretion and judgement in the selection, allocation and use of available resources. All work is carried out to comply with workplace procedures.

No occupational licensing, legislative or certification requirements are known to apply to this unit at the time of publication.

# Pre-requisite Unit

Nil.

# Unit Sector

Irrigation (IRG)

# Elements and Performance Criteria

| Element | Performance criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Install surface irrigation systems | 1.1 Check water supply is compatible with system specifications 1.2 Interpret plan, mark out structures and peg earthworks 1.3 Prepare and maintain beds, diversion and conveyancing structures 1.4 Install diversion and conveyancing structures, channels and beds 1.5 Prepare bed surface with roto-buck 1.6 Test structures for configuration, flow rates and capacity |
| 2. Complete water measurement and tail-water works | 2.1 Install water measurement structures 2.2 Install channels and tail water storages 2.3 Install pumping equipment, lines and filters 2.4 Confirm that the system configuration and capacity matches the installation plan 2.5 Finish off earthworks and structures |
| 3. Operate pumps and siphons | 3.1 Prime pumps and open or close valves and controls 3.2 Position and set up pipes, system equipment and outlets 3.3 Prime and start siphons and other delivery mechanisms 3.4 Implement start up sequence and slowly build up water levels and pressure 3.5 Check pressure at the head-works and control valves 3.6 Distribute water evenly to the targeted areas with minimal wastage and run-off 3.7 Irrigate area and observe time lag between shut down and end of watering to minimise run-off and deep percolation |
| 4. Measure and interpret water levels, flow rates and volume of water used | 4.1 Monitor and maintain head water levels 4.2 Confirm that all water outlets are operating correctly 4.3 Replace or clear blocked inlets and outlets 4.4 Measure and record flow rates and water usage 4.5 Implement irrigation changes as required |
| 5. Monitor drainage and tail-water systems | 5.1 Monitor water intake, conveyance and distribution, drainage and tail-water 5.2 Check water reuse systems for clearance and freedom from weeds 5.3 Monitor pumps, if used, during operation, clear rubbish from outlets and backflush pump |
| 6. Inspect and maintain a surface irrigation system | 6.1 Record damage and blockages with contaminants by damage type, location and the section of the system affected 6.2 Record and report damaged or faulty pumps, valves, electrical components and computer control systems and take action to effect repairs 6.3 Service water measuring, diversion and conveyancing, and distribution structures 6.4 Carry out vegetation control to keep all system components clear 6.5 Undertake servicing and repair of mechanical equipment |

# Foundation Skills

Foundation Skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

# Unit Mapping Information

New unit - no equivalent.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72

Assessment Requirements for AHCIRG334 Operate and maintain gravity fed irrigation systems

# Modification History

| Release Number | TP Version | Comments |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Performance Evidence

The candidate must be assessed on their ability to integrate and apply the performance requirements of this unit in a workplace setting. Performance must be demonstrated consistently over time and in a suitable range of contexts.

The candidate must provide evidence that they can:

adjust and monitor check valves

build and maintain irrigation structures, channels and beds

carry out running repairs on irrigation delivery and drainage systems

carry out shut down procedures, clean equipment and dispose of waste

check pressure at the head works and control valves

check the serviceability of siphons

identify variations in water flow and distribution

inspect irrigation systems

install pumps and pipelines

measure water usage

perform system commissioning tasks

prepare irrigation beds

remove and replace gates, slides and doors

remove and replace valves and filters

start and move siphons and spiles and check flow

start up the system

undertake minor repairs of equipment

use roto-buck for bed preparation

# Knowledge Evidence

The candidate must demonstrate knowledge of:

principles and practices of surface irrigation

behaviour of water on varying terrain and soil types

calculations for installing surface irrigation systems

characteristics and operation of components

components of a surface irrigation system

environmental impacts of surface irrigation installation

soil characteristics

soil water retention testing techniques

water quality and water filtration techniques

common operational and maintenance problems

common operational problems

environmental impacts of irrigation maintenance

maintenance requirements – routine and end of season

surface irrigation system components

weed control methods

# Assessment Conditions

Assessors must satisfy current standards for RTOs.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72