# Assessment Requirements for AHCIRG336 Operate and maintain gravity fed irrigation systems

Release: 1

Assessment Requirements for AHCIRG336 Operate and maintain gravity fed irrigation systems

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 4.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has operated and maintained a gravity fed irrigation system on at least one occasion, and has:

applied workplace health and safety requirements

selected materials, tools, equipment and machinery appropriate to the scope of works

adjusted and monitored check valves

checked the serviceability of delivery mechanisms

set up and started delivery systems

checked pressure at the head-works and control valves

identified variations in water flow and distribution

measured water usage

inspected irrigation systems

carried out running repairs on irrigation delivery and drainage systems

removed and replaced gates, slides and doors

removed and replaced valves and filters

undertaken minor repairs of equipment

carried out shutdown procedures, cleaned equipment and disposed of waste

recorded machinery service and repair.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

workplace requirements applicable to health and safety in the workplace for operating and maintaining gravity fed irrigation systems

machinery operation and maintenance manual

characteristics and operation of components of a gravity fed irrigation system

common operational and maintenance problems

routine and end of season maintenance requirements

weed disposal methods.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

a workplace setting or an environment that accurately represents workplace conditions

resources, equipment and materials:

gravity fed irrigation system materials, tools, equipment and machinery

gravity fed irrigation pump system tools and equipment and procedures

personal protective equipment applicable to operating and maintaining gravity fed irrigation systems

specifications:

work instructions and workplace procedures applicable to operating and maintaining gravity fed irrigation systems

workplace requirements applicable to health and safety in the workplace and operating and maintaining gravity fed irrigation systems

machinery operation and maintenance manual

recording procedures

environmental procedures for collection, treatment, disposal or recycling of waste

timeframes:

according to job requirements.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training, legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72