# Assessment Requirements for AHCIRG338 Troubleshoot irrigation systems

Release: 1

Assessment Requirements for AHCIRG338 Troubleshoot irrigation systems

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture, Conservation and Land Management Training Package Version 4.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit. There must be evidence that the individual has troubleshot and repaired irrigation systems on at least two occasions and has:

applied workplace health and safety requirements

identified adverse environmental impacts of irrigation activities and appropriate remedial action

carried out operational tests

operated, maintained and repaired irrigation systems

shut down and isolated components.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

workplace requirements applicable to health and safety in the workplace for troubleshooting and repairing irrigation systems

environmental impacts of irrigation using water from any ground or underground source

system malfunctions and their likely causes

irrigation equipment handbooks

characteristics and operation of replaceable components of irrigation systems

isolation procedures.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

a workplace setting or an environment that accurately represents workplace conditions

resources, equipment and materials:

irrigation equipment handbooks

irrigation system equipment

irrigation system repair tools and equipment

personal protective equipment applicable to repairing irrigation systems

specifications:

work instructions and workplace procedures applicable to troubleshooting and repairing irrigation systems

workplace requirements applicable to health and safety in the workplace and troubleshooting and repairing irrigation systems

relationships:

supervisor

timeframes:

according to job requirements.

Assessors of this unit must satisfy the requirements of assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72