# Assessment Requirements for AHCIRG340 Install irrigation pumps

Release: 1

Assessment Requirements for AHCIRG340 Install irrigation pumps

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 4.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit. There must be evidence that the individual has installed irrigation pumps on at least one occasion, and has:

followed drawings and specifications

performed work-related calculations

handled materials safely

organised equipment and materials for installation work

matched pump output and flow rate to pipe diameter

set out and prepared the site

positioned pumps and control devices

used power tools and hand tools

primed and operated pumps

fixing and joining techniques

identified and responded to operational problems

monitored the performance of pumps

adjusted and set pressure switches and air tanks to suit pump performance and site conditions.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

basic principles of hydraulics, flow versus pressure, energy loss due to friction

discharge and flow rates

installation procedures for irrigation pumps

pump components and their principles of operation

pump gauges and controls

advantages and disadvantages of each pump type

servicing requirements for pumps

types of pumps and their application in irrigation, such as centrifugal, vertical turbine, submersible and propeller

types of pumps suitable as booster and floating pumps

characteristics and application of different valves, pipes and fittings, including fixing and joining techniques and methods

impellers, rotors and stators

types of valves

properties of water, including pressure and flow rates

pump performance and pressure testing

automatic pump switches, including timers, pressure switches, constant flow switches and variable speed drives.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

a workplace setting or an environment that accurately represents workplace conditions

resources, equipment and materials:

work instructions and workplace procedures applicable to installing irrigation pumps

irrigation pump operation and maintenance manual

irrigation pump installation equipment

personal protective equipment applicable to installing irrigation pumps

specifications:

irrigation pump installation tools and equipment and procedures

recording procedures

timeframes:

according to job requirements.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72