# AHCIRG340 Install irrigation pumps

Release: 1

AHCIRG340 Install irrigation pumps

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 4.0. |

# Application

This unit of competency describes the skills and knowledge required to plan and sequence installation tasks, source, install and commission pump and flow control components, and complete irrigation pump installation.

The unit applies to individuals who install irrigation pumps under broad direction and take responsibility for their own work.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Irrigation (IRG)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Plan and sequence installation tasks from instructions | 1.1 Obtain drawings and specifications 1.2 Plan and sequence tasks 1.3 Select required tools and equipment and check for safe operation |
| 2. Source irrigation system requirements | 2.1 Select, fit and use appropriate PPE 2.2 Determine location of pump 2.3 Identify pump base requirements 2.4 Identify, order and collect materials and equipment 2.5 Check materials and equipment for acceptable condition and compliance |
| 3. Install and commission pumping and flow control components | 3.1 Set out and construct pump base 3.2 Install pump and pump controls 3.3 Connect suction and discharge lines and flow control devices 3.4 Connect delivery and distribution components to pump 3.5 Conduct pressure testing of pumping system 3.6 Adjust and set flow control devices 3.7 Test pump |
| 4. Complete work | 4.1 Clear work area and dispose of, reuse or recycle materials 4.2 Clean, check, maintain and store tools and equipment 4.3 Restore work site to meet environmental requirements 4.4 Complete documentation |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interpret textual information from a range of sources to identify relevant and key information about workplace operations |
| Writing | Document pump installation and commissioning activities |
| Numeracy skills | Measure pump base area |
| Navigate the world of work | Recognise and follow workplace requirements, including safety requirements, associated with own role and area of responsibility |

# Range of Conditions

This section specifies different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included.

| Flow control devices must include at least two of the following: | pressure switches constant flow switches variable speed drives. |
| --- | --- |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| AHCIRG340 Install irrigation pumps | AHCIRG309 Install irrigation pumps | Performance criteria clarified Foundation skills added Assessment requirements updated | Equivalent unit |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72

Assessment Requirements for AHCIRG340 Install irrigation pumps

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 4.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit. There must be evidence that the individual has installed irrigation pumps on at least one occasion, and has:

followed drawings and specifications

performed work-related calculations

handled materials safely

organised equipment and materials for installation work

matched pump output and flow rate to pipe diameter

set out and prepared the site

positioned pumps and control devices

used power tools and hand tools

primed and operated pumps

fixing and joining techniques

identified and responded to operational problems

monitored the performance of pumps

adjusted and set pressure switches and air tanks to suit pump performance and site conditions.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

basic principles of hydraulics, flow versus pressure, energy loss due to friction

discharge and flow rates

installation procedures for irrigation pumps

pump components and their principles of operation

pump gauges and controls

advantages and disadvantages of each pump type

servicing requirements for pumps

types of pumps and their application in irrigation, such as centrifugal, vertical turbine, submersible and propeller

types of pumps suitable as booster and floating pumps

characteristics and application of different valves, pipes and fittings, including fixing and joining techniques and methods

impellers, rotors and stators

types of valves

properties of water, including pressure and flow rates

pump performance and pressure testing

automatic pump switches, including timers, pressure switches, constant flow switches and variable speed drives.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

a workplace setting or an environment that accurately represents workplace conditions

resources, equipment and materials:

work instructions and workplace procedures applicable to installing irrigation pumps

irrigation pump operation and maintenance manual

irrigation pump installation equipment

personal protective equipment applicable to installing irrigation pumps

specifications:

irrigation pump installation tools and equipment and procedures

recording procedures

timeframes:

according to job requirements.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72