# AHCIRG340 Install irrigation pumps

Release: 1

AHCIRG340 Install irrigation pumps

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 4.0. |

# Application

This unit of competency describes the skills and knowledge required to plan and sequence installation tasks, source, install and commission pump and flow control components, and complete irrigation pump installation.

The unit applies to individuals who install irrigation pumps under broad direction and take responsibility for their own work.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Irrigation (IRG)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Plan and sequence installation tasks from instructions | 1.1 Obtain drawings and specifications 1.2 Plan and sequence tasks 1.3 Select required tools and equipment and check for safe operation |
| 2. Source irrigation system requirements | 2.1 Select, fit and use appropriate PPE 2.2 Determine location of pump 2.3 Identify pump base requirements 2.4 Identify, order and collect materials and equipment 2.5 Check materials and equipment for acceptable condition and compliance |
| 3. Install and commission pumping and flow control components | 3.1 Set out and construct pump base 3.2 Install pump and pump controls 3.3 Connect suction and discharge lines and flow control devices 3.4 Connect delivery and distribution components to pump 3.5 Conduct pressure testing of pumping system 3.6 Adjust and set flow control devices 3.7 Test pump |
| 4. Complete work | 4.1 Clear work area and dispose of, reuse or recycle materials 4.2 Clean, check, maintain and store tools and equipment 4.3 Restore work site to meet environmental requirements 4.4 Complete documentation |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interpret textual information from a range of sources to identify relevant and key information about workplace operations |
| Writing | Document pump installation and commissioning activities |
| Numeracy skills | Measure pump base area |
| Navigate the world of work | Recognise and follow workplace requirements, including safety requirements, associated with own role and area of responsibility |

# Range of Conditions

This section specifies different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included.

| Flow control devices must include at least two of the following: | pressure switches constant flow switches variable speed drives. |
| --- | --- |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| AHCIRG340 Install irrigation pumps | AHCIRG309 Install irrigation pumps | Performance criteria clarified Foundation skills added Assessment requirements updated | Equivalent unit |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72