# Assessment Requirements for AHCIRG341 Operate and maintain irrigation pumping systems

Release: 1

Assessment Requirements for AHCIRG341 Operate and maintain irrigation pumping systems

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 4.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit. There must be evidence that the individual has operated and maintained irrigation pumping equipment on at least two occasions and has:

selected tools and equipment appropriate to the scope of works

applied workplace health and safety requirements

carried out the following operation and maintenance tasks:

inspected and cleaned pumps

adjusted pump settings

primed a pump

checked and cleared or replaced filters

replaced worn components, including pump seals, liners and impellers

tensioned fasteners and y-belts

monitored pressures and flows

used amperage testing equipment

replaced belts

set valves and checked for wear and leakages

cleared blockages

checked and topped-up fluids, including coolants, lubricants and hydraulic oils

checked oil quality and levels

lubricated pumps

performed start up and shutdown procedures

maintained clean work area and equipment.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

workplace requirements applicable to health and safety in the workplace for operating and maintaining irrigation pumping systems

advantages and disadvantages of each pump type

pump performance and fault finding

pumps and their application in irrigation, such as centrifugal, vertical turbine, submersible and propeller

pumps that are suitable as booster and floating pumps

automatic pump switches, including:

timers,

pressure switches,

irrigation controllers, and

flow switches

properties of water including pressure and flow rates

irrigation pump system operation and maintenance manual

reading pump gauges and controls

amperage testing equipment

service and maintenance requirements of pumps

basic principles of hydraulics flow versus pressure

discharge and flow rates

impellers, rotors and stators

pump components and their principles of operation

valves and their uses.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

a workplace setting or an environment that accurately represents workplace conditions

resources, equipment and materials:

irrigation pump system operation and maintenance manual

irrigation pump system equipment

irrigation pump system oil, lubricant, coolant and cleaning agents

amperage testing equipment

personal protective equipment applicable to operating and maintaining irrigation pumping systems

specifications:

work instructions and workplace procedures applicable to operating and maintaining irrigation pumping systems

workplace requirements applicable to health and safety in the workplace and operating and maintaining irrigation pumping systems

irrigation pump system tools and equipment and procedures

servicing and maintenance recording procedures

environmental procedures for collection, treatment, disposal or recycling of waste

timeframes:

according to job requirements.

Assessors of this unit must satisfy the requirements of assessors in applicable vocational education and training, legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72