# Assessment Requirements for AHCIRG345 Install pressurised irrigation systems

Release: 1

Assessment Requirements for AHCIRG345 Install pressurised irrigation systems

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 4.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit. There must be evidence that the individual has installed pressurised irrigation systems on at least one occasion and has:

applied workplace health and safety requirements

selected materials, tools, equipment and machinery appropriate to the scope of works

organised resources for installation work

set out and prepared the site

completed installation work

calibrated testing and monitoring equipment

commissioned irrigation system.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

workplace requirements applicable to health and safety in the workplace for installing pressurised irrigation systems

water quality and water filtration techniques

the behaviour of water on varying terrain and soil types

soil characteristics

soil water retention testing techniques

calculations for installing pressurised irrigation systems

characteristics and operation of joints, valves and sprinkler components

components of a pressurised irrigation system

methods and techniques of installing pressurised irrigation

operation of pumps and water flow rates.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

a workplace setting or an environment that accurately represents workplace conditions

resources, equipment and materials:

pressurised irrigation system operation and maintenance manual

pressurised irrigation system installation equipment

personal protective equipment applicable to installing pressurised irrigation systems

specifications:

work instructions and workplace procedures applicable to installing pressurised irrigation systems workplace requirements applicable to health and safety in the workplace and installing pressurised irrigation systems

pressurised irrigation system installation tools and equipment and procedures

recording procedures

relationships:

supervisor

timeframes:

according to job requirements.

Assessors of this unit must satisfy the requirements of assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72