# AHCIRG345 Install pressurised irrigation systems

Release: 1

AHCIRG345 Install pressurised irrigation systems

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 4.0. |

# Application

This unit of competency describes the skills and knowledge required to organise resources, set out and prepare an irrigation installation site and install, commission and complete pressurised irrigation system installation.

The unit applies to individuals who install pressurised irrigation systems under broad direction and take responsibility for their own work.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Irrigation (IRG)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Organise resources for installation work | 1.1 Confirm activity to be undertaken, including identifying potential hazards and risks and implementing safe working practices to manage risks 1.2 Select required materials, tools, equipment and machinery and check for safe operation 1.3 Check that parts and equipment match system drawings and specifications 1.4 Select, fit, use and maintain safety and personal protective equipment applicable to the task 1.5 Carry out pre-operational checks on tools, equipment and machinery 1.6 Identify environmental considerations of irrigation installation activities 1.7 Check water supply to ensure that it is compatible with system specifications |
| 2. Set out and prepare site | 2.1 Measure and mark out irrigation lines 2.2 Confirm trenches are at the specified depth without damage to services, facilities, features and established plants 2.3 Observe regulations relevant to the situation 2.4 Use work practices that reflect sustainable horticulture principles and environmental requirements |
| 3. Install irrigation components | 3.1 Interpret the irrigation system plan and, where applicable, supervise contractors and monitor work to ensure it conforms to the plan 3.2 Assemble and connect components and complete and test joints 3.3 Fit and adjust fittings and valves and secure all joints 3.4 Maintain a clean and safe work area while installation work is carried out |
| 4. Commission irrigation system | 4.1 Calibrate testing and monitoring equipment 4.2 Confirm start-up sequence according to operations manual 4.3 Flush system as required 4.4 Identify operating faults and take corrective where required 4.5 Record work outcomes and report to supervisor |
| 5. Complete installation work | 5.1 Finish off earthworks to specifications 5.2 Confirm system configuration and capacity matches installation plan 5.3 Restore site and clear materials and equipment from the site on completion of maintenance works 5.4 Clean and store tools and equipment according workplace requirements |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interpret textual information from a range of sources to identify relevant and key information about workplace operations |
| Writing | Use the correct terminology to document irrigation installation activities |
| Oral communication | Use clear language to report irrigation installation activities |
| Numeracy skills | Confirm part numbers |
| Navigate the world of work | Recognise and follow workplace requirements, including safety and environmental requirements, associated with own role and area of responsibility |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| AHCIRG345 Install pressurised irrigation systems | AHCIRG331 Install pressurised irrigation systems | Performance criteria clarified Foundation skills added Assessment requirements updated | Equivalent unit |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72