# AHCIRG347 Maintain pressurised irrigation systems

Release: 1

AHCIRG347 Maintain pressurised irrigation systems

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture, Conservation and Land Management Training Package Version 4.0. |

# Application

This unit of competency describes the skills and knowledge required to interpret a maintenance program, inspect and maintain pressurised irrigation systems, and record and report maintenance activities.

The unit applies to individuals who maintain pressurised irrigation systems under broad direction and take responsibility for their own.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Irrigation (IRG)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Interpret a pressurised irrigation maintenance program | 1.1 Determine the scope of maintenance 1.2 Determine the frequency of maintenance works 1.3 Establish irrigation maintenance standards 1.4 Plan and prepare maintenance works 1.5 Identify potential hazards and risks and implement safe working practices to manage risks 1.6 Minimise environmental impacts of irrigation maintenance activities 1.7 Select, fit and use personal protective equipment applicable to the task |
| 2. Inspect an irrigation system | 2.1 Create an inspection checklist and inspect the system regularly 2.2 Identify remedial action required and undertake repairs to restore system to full effectiveness 2.3 Undertake servicing of irrigation mechanical equipment according to operation and maintenance manual 2.4 Assess the results of maintenance works and record to ensure repairs or maintenance standards have been achieved |
| 3. Carry out periodic system maintenance | 3.1 Record damage and blockages with contaminants by damage type, location and the section of the system affected 3.2 Record and report damaged or faulty components and computer control systems and take action to effect repairs 3.3 Implement end of season maintenance procedures 3.4 Implement routine and preventative maintenance procedures |
| 4. Complete and record maintenance activities | 4.1 Restore site and clear materials and equipment from the site on completion of maintenance works 4.2 Complete maintenance and servicing records according to workplace recording procedures 4.3 Record parts removed or replaced 4.4 Record and report faults and breakages |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interpret textual information from a range of sources to identify relevant and key information about workplace operations |
| Writing | Use correct terminology to document irrigation service and maintenance activities |
| Oral communication | Use clear language to report irrigation service and maintenance activities |
| Numeracy skills | Identify and record part numbers |
| Navigate the world of work | Recognise and follow workplace requirements, including safety requirements, associated with own role and area of responsibility |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| AHCIRG347 Maintain pressurised irrigation systems | AHCIRG333 Maintain pressurised irrigation systems | Performance criteria clarified Foundation skills added Assessment requirements updated | Equivalent unit |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72