# Assessment Requirements for AHCIRG402 Determine hydraulic parameters for an irrigation system

Release: 1

Assessment Requirements for AHCIRG402 Determine hydraulic parameters for an irrigation system

# Modification History

| Release Number | TP Version | Comments |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Performance Evidence

The candidate must be assessed on their ability to integrate and apply the performance requirements of this unit in a workplace setting.

The candidate must provide evidence that they can:

apply hydraulic principles to manual and computerised irrigation systems

calculate pressures, flows, velocities and friction losses

determine efficiency of the system with varying system components

identify adverse environmental impacts of irrigation activities and appropriate remedial action

read contour maps and interpret elevations and distances

# Knowledge Evidence

The candidate must demonstrate knowledge of:

calculate pressure loss due to irrigation components

calculate pumping requirements

hydraulic principles such as static and dynamic pressure, pressure loss, friction loss, flow rate and velocity, effect of gradient on flow rate, contact time and drainage

irrigation system components

types and pressure ratings for pipes, fittings and outlets

# Assessment Conditions

Assessors must satisfy current standards for RTOs.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72