# Assessment Requirements for AHCIRG410 Select and manage pumping systems for irrigation

Release: 1

Assessment Requirements for AHCIRG410 Select and manage pumping systems for irrigation

# Modification History

| Release Number | TP Version | Comments |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Performance Evidence

The candidate must be assessed on their ability to integrate and apply the performance requirements of this unit in a workplace setting.

The candidate must provide evidence that they can:

identify irrigation system requirements from the irrigation design

select pump according to type, installation, range of flow rates, operating head and delivery distance

supervise installation of pumps

develop maintenance procedures for the pumping system

monitor the performance of pumps, valves and filters

carry out troubleshooting on pumping systems

calculate pumping requirements  and pressure loss due to irrigation components

identify adverse environmental impacts of irrigation pumping activities and take appropriate remedial action

# Knowledge Evidence

The candidate must demonstrate knowledge of:

advantages and disadvantages of each pump type

application of mechanical, hydraulic and electrical principles

automatic pump switches including:

flow switches

irrigation controllers

pressure switches

timers

cavitation - cause and effect

discharge and flow rates

environmental procedures for installing and maintaining irrigation pumping systems

installation factors including:

adequate space, head room, ventilation and lighting

correct alignment procedures of pump and motor shafts with direct coupled units

provision for adjustment and ease of dismantling

levelling and alignment processes

overhaul or repair operations

properties of water including pressure and flow rates

pump components and their principles of operation

pump efficiency,  performance and pressure testing

pump positioning (driver alignment and suction length)

routine preventative maintenance

selection factors for pumps including:

source of water and lift

the required pumping flow rate and pressure

the total dynamic head

the total suction head

sources of information and the processes for the calculation of material requirements and flow rates

statutory and authority requirements related to the installation of commissioning of irrigation pumping systems

types of impellers and their use

types of pumps and application in irrigation including:

centrifugal

propeller

submersible

vertical turbine

types of pumps suitable as booster and floating pumps

types of valves

work health and safety legislation

# Assessment Conditions

Assessors must satisfy current standards for RTOs.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72