# Assessment Requirements for AHCIRG431 Supervise irrigation system installation

Release: 1

Assessment Requirements for AHCIRG431 Supervise irrigation system installation

# Modification History

| Release Number | TP Version | Comments |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Performance Evidence

The candidate must be assessed on their ability to integrate and apply the performance requirements of this unit in a workplace setting. Performance must be demonstrated consistently over time and in a suitable range of contexts.

The candidate must provide evidence that they can:

conduct work health and safety risk assessment

develop operational procedures

implement employment procedures

interpret irrigation designs

supervise installation tasks such as:

assembling sprinklers, pressure regulators and hose directors

checking operating specifications for pressures and flow rates

completing installation work and testing components

installing irrigation components

installing power and pumping plant

laying and joining sprinkler lateral pipelines

laying and joining supply and distribution pipeline

pressure testing the system

setting out and preparing site

setting up irrigation controllers

undertaking start-up procedures

# Knowledge Evidence

The candidate must demonstrate knowledge of:

principles and practices of irrigation system installation supervision

behaviour of water on varying terrain and soil types

calculations for installing low volume irrigation systems

characteristics and operation of joints, valves and sprinkler components

commissioning procedures

design interpretation

distribution uniformity

employment procedures

licensing requirements for electrical work

operating specifications for pressures and flow rates

project management principles

pump capacity

safe work practices for construction

setting up fertigation equipment

setting up irrigation controllers

soil water retention testing techniques

start-up procedures

types of pumps and water flow rates

volume and pressure requirements

water quality and water filtration techniques

# Assessment Conditions

Assessors must satisfy current standards for RTOs.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72