# Assessment Requirements for AHCIRG432 Supervise irrigation system maintenance

Release: 1

Assessment Requirements for AHCIRG432 Supervise irrigation system maintenance

# Modification History

| Release Number | TP Version | Comments |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Performance Evidence

The candidate must be assessed on their ability to integrate and apply the performance requirements of this unit in a workplace setting. Performance must be demonstrated consistently over time and in a suitable range of contexts.

The candidate must provide evidence that they can:

carry out visual checks for blockages or signs of wear in components

check connections and controllers

check sprinkler output and function

confirm operational pressures

develop enterprise procedures for maintenance

ensure proper operation of automatic flush valves

inspect irrigation systems

maintain testing equipment

pressure testing systems

service irrigation equipment

test emitter output and function

test irrigation equipment

# Knowledge Evidence

The candidate must demonstrate knowledge of:

principles and practices of irrigation system maintenance supervision

develop enterprise procedures for pre-season, irrigation and post-season maintenance

drainage systems

environmental impacts of irrigation maintenance

equipment testing

system components

system inspection

operating pressures and output

operational and maintenance requirements

pre and post-season maintenance covering

pressure testing as per procedures

pumping and distribution systems

distribution uniformity

visual checks for blockages or signs of wear in components

work health and safety hazards and safe work procedures

# Assessment Conditions

Assessors must satisfy current standards for RTOs.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72